## original_input
| District Code | Upzilla Code | Package Code | Division Code | Circle Code | Zone Code | Item Code | Description | Unit | Quantity | Rate | Amount | Economic Code
0 | DT1 | U1 | P1 | D1 | C1 | Z1 | 16-100 | Erection of bamboo profile with full bamboo posts and pegs not less than 60mm in diameter and coir strings etc. complete as per direction of Engineer in charge. | each | 35 | 370.47 | 12966.45 | 4111310
1 | DT1 | U1 | P1 | D1 | C1 | Z1 | 04-700-10 | Erection and maintenance of site office and removal of the same after completion of work as per approved plans & drawings for the use of the Engineer-in-charge & his staff, Task force and field laboratory with adequate foundation, brick walls, acceptable outside & inside wall surface, concrete floor with floor tiles, false ceiling of gypsum board, windows are to be glazed & provided with steel grill & screen/blinds, doors with approved locks, furniture & fittings of approved quality, equipment & plant of approved quality, electricity, running water, sewerage, security fencing, 5 KVA stand-bye generator, IBM compatible PC with monitor, uninterruptible power supply (UPS), LaserJet printer (minimum 25 ppm), first aid-box, safety helmet, level/theodolite/EDM, consumables, stationeries, day & night guards & a tea boy and site office shall be ready for occupation by the Engineer-in-charge within 28 days of commencement of work, etc. complete as per direction of Engineer-in-charge. (This is a time related item; proportionate payment for this item shall be made distributing in each bill on the basis of percentage progress of the whole works under contract). Site office of minimum 38 sqm plinth area. | each | 1 | 508581.43 | 508581.43 | 4111310
2 | DT1 | U1 | P1 | D1 | C1 | Z1 | 12-310-20 | Bailing out of water with all leads and lifts by manual labour or pump, with all arrangements for protection of ring bund and side slopes of foundation pit against erosion or washout etc. complete (actual volume of work will be measured by sounding method before starting the work) as per direction of Engineer in charge. by pump. | cum | 10725 | 7.61 | 81617.25 | 4111310
3 | DT1 | U1 | P1 | D1 | C1 | Z1 | 16-490-20 | Earth work by manual labour in all kinds of soil for excavation/ re-excavation of pond/ tank and constructing bank as per design and specification, throwing the spoil earth in layers of 150mm including breaking clods, dressing, profiling etc. complete with all leads and lifts as per direction of Engineer in charge. For slushy or percolating soil. | cum | 4537.5 | 261.13 | 1184877.375 | 4111310
4 | DT1 | U1 | P1 | D1 | C1 | Z1 | 16-410 | Earth work by Mechanical Excavator (Long Boom) in all kinds of soil in excavation / re-excavation of channel/canal/khal etc. including disposal of spoil-soil upto 30m away from the point of excavation with rough dressing and levelling etc. complete as per direction of Engineer-in-Charge. | cum | 2932.345 | 127.88 | 374988.2786 | 4111310
5 | DT1 | U1 | P1 | D1 | C1 | Z1 | 16-420 | Extra Rate for every additional shift of Dredged/Excavated earth or shifting of earth by Mechanical Excavator (Long Boom) of 30m or part thereof beyond the initial shift of 30m upto a maximum of 9 shift for all kind of earthwork shift. (Unit: per shift per cum). No. of shift = ... Nos. | pspc | 2932.345 | 40.14 | 117704.3283 | 4111310
6 | DT1 | U1 | P1 | D1 | C1 | Z1 | 16-430-10 | Extra Rate for Carriage of Dredged earth/Excavated earth or shifting of earth by dump truck including loading, unloading complete as per direction of Engineer in charge. Carriage by Dump Truck: Up to 1.0 km | cum | 0 | 85.33 | 0 | 4111310
7 | DT1 | U1 | P1 | D1 | C1 | Z1 | 16-150-10 | Compaction of earth in constructing/resectioning of embankment/ canal bank/road/river slopes etc. by mechanical equipment to attain 85% / 90% maximum dry density at optimum moisture content with reference to laboratory density test AASTHO-180 modified hammer in all kinds of soils as per direction of Engineer in charge. 0.0m to 6.0m height and above, with 85% compaction. | cum | 2974.8 | 31.29 | 93081.492 | 4111310
8 | DT1 | U1 | P1 | D1 | C1 | Z1 | 16-310-20 | Providing clay blanket/clay core by carried earth supplied at contractor's own cost (including royalty) in different thickness over embankment crest and side slopes/embankment core/bed and slope of irrigation canal/crest and side slopes of irrigation canal dykes etc. with selected clay (clay content minimum 80% and silt content maximum 20%) including throwing clay in layers not exceeding 150mm in thickness, clod breaking, benching the side slopes, and compacting to 85% maximum dry density at optimum moisture content with suitable equipment, dressing etc. complete (clay blanket should be extended upto 0.5m below the berm on the outside of embankment/ irrigation canal dyke etc.) as per design, specification and direction of Engineer in charge. Carried by truck/boat or any means: 300m to 1.0km. | cum | 147.8159 | 555.73 | 82145.7304 | 4111310
9 | DT1 | U1 | P1 | D1 | C1 | Z1 | 16-310-30 | Providing clay blanket/clay core by carried earth supplied at contractor's own cost (including royalty) in different thickness over embankment crest and side slopes/embankment core/bed and slope of irrigation canal/crest and side slopes of irrigation canal dykes etc. with selected clay (clay content minimum 80% and silt content maximum 20%) including throwing clay in layers not exceeding 150mm in thickness, clod breaking, benching the side slopes, and compacting to 85% maximum dry density at optimum moisture content with suitable equipment, dressing etc. complete (clay blanket should be extended upto 0.5m below the berm on the outside of embankment/ irrigation canal dyke etc.) as per design, specification and direction of Engineer in charge. Carried by truck/boat or any means: 1.0km to 5.0km. (Extra rate) | cum | 147.8159 | 49.09 | 7256.2826 | 4111310
10 | DT1 | U1 | P1 | D1 | C1 | Z1 | 16-500 | Earth work in excavation of foundation trenches in all kinds of soils including levelling, dressing, placing, removal of spoils to a safe distance with initial lead of 30m and lift of 1.5m as per direction of Engineer in charge. | cum | 948.0715 | 247.75 | 234884.7116 | 4111317
11 | DT1 | U1 | P1 | D1 | C1 | Z1 | 16-620-30 | Shoring for slope protection of foundation trench, canal, embankment, road, pond etc. as per design slopes, grades including removal of spoils to a safe distance as per direction of Engineer in charge. By local hard wood ballah post of 6.0m length, 125mm dia, 1.0m c/c, and 2.0m drive with 6.0m long bamboo of avarage 75mm dia, @ 1.0m c/c and 2.0m drive with drum sheet walling and average 70mm dia half split bamboo batten @ 2.0m c/c fixed with nails. | sqm | 24.1 | 1023.65 | 24669.965 | 4111317
12 | DT1 | U1 | P1 | D1 | C1 | Z1 | 16-540-20 | Supplying and filling sand in foundation of hydraulic structures, buildings and in protective works with selected sand, in 150mm thick layer, including levelling, dressing, ramming, watering etc. complete (compacted to 50% relative density by manual labour using mallet/ vibro compactor) as per direction of Engineer in charge. Sand of FM>=1.50 | cum | 243.0223 | 1710.21 | 415619.1677 | 4111317
13 | DT1 | U1 | P1 | D1 | C1 | Z1 | 20-100-10 | Single brick flat soling including preparation of bed, sand filling (FM>=0.50), levelling, dressing and sand blinding in foundation or floor with supply of all materials etc. complete and as per direction of Engineer in charge. With 1st class bricks | sqm | 5.4 | 467.54 | 2524.716 | 4111317
14 | DT1 | U1 | P1 | D1 | C1 | Z1 | 20-200-10 | Brick work with 1st. class bricks in cement mortar (sand of FM>=1.50) in foundation and plinth, including soaking bricks in clean water for 6 hours, cleaning the bricks, raking out joints, staging, sorting, curing at least for 7 days, including supply of all materials etc. complete and as per direction of Engineer in charge. proportion: 1:4 | cum | 39.6767 | 7719.47 | 306283.3462 | 4111317
15 | DT1 | U1 | P1 | D1 | C1 | Z1 | 20-220-10 | Extra rate for brick work in superstructure in different stories, over the rates of brick work in foundation and plinth: Ground floor superstructure | cum | 29.9736 | 213.99 | 6414.0571 | 4111317
16 | DT1 | U1 | P1 | D1 | C1 | Z1 | 24-100-10 | Minimum 20mm thick sand cement plaster, (sand of FM>=1.3) in ground floor, including scaffolding, raking out joints, making sharp edges and corners, cleaning the surface, curing for at least seven days etc. complete including the cost of all materials and as per direction of Engineer in charge. proportion 1:4 | sqm | 121.565 | 414.5 | 50388.6925 | 4111317
17 | DT1 | U1 | P1 | D1 | C1 | Z1 | 24-180 | Neat cement finishing on plaster surfaces just after initial setting of plaster in all floors including curing at least for seven days with supply of all materials etc complete as per direction of Engineer in charge. | sqm | 121.565 | 110.76 | 13464.5394 | 4111317
18 | DT1 | U1 | P1 | D1 | C1 | Z1 | 28-120-30 | Cement concrete work in leanest mix. 1:3:6 with sand of FM>=1.5, in foundation or floor including breaking, screening, grading and washing aggregates with clear water, mixing, laying in position, consolidation to levels, curing, including supply of all materials, excluding the cost of formworks etc. complete as per direction of Engineer in charge. With 25mm down graded stone shingles. | cum | 16.7311 | 11792.23 | 197297.569 | 4111317
19 | DT1 | U1 | P1 | D1 | C1 | Z1 | 76-120-10 | M.S. Work for reinforcement with deformed M.S. bar, fy=400 N/mm², (made from billet) in RCC works, including local handling, cutting, forging, bending, cleaning and fabrication with supply of deformed M.S. bar in different sizes and binding with 22 to 18 gages G.I. wire etc. complete including the cost of all materials as per direction of Engineer in charge. 8mm dia to 30mm dia. | kg | 45806.6293 | 103.13 | 4724037.678 | 4111317
20 | DT1 | U1 | P1 | D1 | C1 | Z1 | 76-170 | M.S. Work in plates, angles, channels, flat bars, Tees etc. including fabricating, machining, cutting, bending, welding, forging, drilling, revetting, embedding anchor bars, staging and fitting, fixing, local handling etc. comlpete with energy consumption and supply of labours including the cost of materials as per design, specification and direction of Engineer in charge. | kg | 10.9055 | 163.18 | 1779.5595 | 4111317
21 | DT1 | U1 | P1 | D1 | C1 | Z1 | 28-200-10 | Reinforced cement concrete work in leanest mix. 1:1.5:3, with 20mm down graded coarse aggregates and sand of FM>2.0 to FM<=2.5, to attain a minimum 28 day cylinder strength of 22.0 N/mm², including breaking, screening, grading, ashing aggregates with clean water, mixing, laying in forms, consolidation to levels, curing, including supply of all materials, excluding cost of M.S. work for reinforcements and formworks etc. complete and as per direction of Engineer in charge. with stone chips | cum | 538.5763 | 15521.62 | 8359577.0887 | 4111317
22 | DT1 | U1 | P1 | D1 | C1 | Z1 | 36-150-60 | Formwork for centering and water tight shuttering as per drawing with 14 BWG M.S. sheet, fitted and fixed with 40mmx40mmx6mm M.S. angle frame and 25mmx6mm F.I. bar stiffener, with necessary fabrication, welding, making the forms including fitting, fixing of steel forms with necessary ties, battens, struts, nuts & bolts, props etc. as per desired shape and size including levelling and removing the forms after specified period including the cost of all materials as per direction of Engineer in charge. Footing, footing beams, grade beams, foundation slab with 60-80mm dia barrack bamboo props. | sqm | 1098.3744 | 959.85 | 1054274.6495 | 4111317
23 | DT1 | U1 | P1 | D1 | C1 | Z1 | 36-150-10 | Formwork for centering and water tight shuttering as per drawing with 14 BWG M.S. sheet, fitted and fixed with 40mmx40mmx6mm M.S. angle frame and 25mmx6mm F.I. bar stiffener, with necessary fabrication, welding, making the forms including fitting, fixing of steel forms with necessary ties, battens, struts, nuts & bolts, props etc. as per desired shape and size including levelling and removing the forms after specified period including the cost of all materials as per direction of Engineer in charge. Vertical and inclined walls, columns, piers with 60-80mm dia barrack bamboo props. | sqm | 1665.2315 | 1187.98 | 1978261.7245 | 4111317
24 | DT1 | U1 | P1 | D1 | C1 | Z1 | 44-200 | Construction of pile yard for casting RCC pile with 50mm thick cement concrete (1:3:6) with cement, sand (FM>=1.5) and 20mm down graded picked jhama or 1st class brick chips including breaking, screening, grading and washing chips, mixing, laying and compacting to levels, over a brick flat soling with 1st class bricks including preparation of base, sand filling to make a level base, ramming and sand blinding with sand of FM>=0.8 etc. complete with neat cement finish over the concrete surface including the cost for supply of all materials and as per direction of Engineer in charge. | sqm | 296 | 810.52 | 239913.92 | 4111317
25 | DT1 | U1 | P1 | D1 | C1 | Z1 | 44-110 | Manufacturing, supplying and fitting fixing M.S. Shoe at RCC pile tip with tip area 20mmx20mm, butt area 135mmx135mm and height 200mm, fabricated with 6mm thick 4 nos M.S. plate (20mmx135mmx200mm) at sides and one plate (20mmx20mm) at tip, having 6mm thick continuous fillet weld at all joints and 16mm dia 500mm long anchor bar welded to the tip plate at one end and hooked at the other end etc. complete including cost of all materials and as per direction of Engineer in charge. | each | 32 | 1232.97 | 39455.04 | 4111317
26 | DT1 | U1 | P1 | D1 | C1 | Z1 | 44-100-40 | Driving precast RCC pile upto 15.0 m length including layout, providing center line and Bench Mark pillars, carriage of piles from yard to driving point and driving through hard strata, if any, including the cost of installation, demobilization and carriage of all equipments, auxillary items, labours, materials etc. complete, as per direction of Engineer in charge. Size 350mm x 350mm | m | 384 | 881.76 | 338595.84 | 4111317
27 | DT1 | U1 | P1 | D1 | C1 | Z1 | 44-140 | Labour for breaking of head of cast in situ bored pile/precast pile upto required length by any means and removing the dismantled materials such as concrete to a safe distance including scrapping and removing concrete from steel/M.S. rods, all sorts of handling, stacking the same properly after clearing, levelling and dressing the site and clearing the river bed etc. complete as per direction of Engineer in charge. | cum | 1.7525 | 3735.58 | 6546.5292 | 4111317
28 | DT1 | U1 | P1 | D1 | C1 | Z1 | 40-230-40 | Manufacturing and supplying C.C. blocks in leanest mix. 1:2:4 with cement, sand (FM>=2.0) and Stone Chips (40mm down graded) to attain a 28 days cylinder strength of 18 N/mm² including grading, washing stone chips, mixing, laying in forms, consolidation, curing for at least 21 days, including preparation of platform, shuttering and stacking in measurable stacks etc. complete including supply of all materials (steel shutter to be used) as per direction of Engineer in charge. Block Size: 40cmx40cmx20cm. | each | 780 | 516.62 | 402963.6 | 4111317
29 | DT1 | U1 | P1 | D1 | C1 | Z1 | 40-270-10 | Labour charge for protective works in laying CC blocks of different sizes including preparation of base, watering and ramming of base etc. complete as per direction of Engineer in charge. Within 200 m. | cum | 24.96 | 1452.75 | 36260.64 | 4111317
30 | DT1 | U1 | P1 | D1 | C1 | Z1 | 28-100-20 | Cement concrete work in leanest mix. 1:4:8, with sand of M>=1.5, in foundation or floor, including breaking, screening, grading and washing aggregates with clear water, mixing, laying in position, consolidation to levels, curing, including supply of all materials, excluding the cost of formworks etc. complete as per direction of Engineer in charge. With 25mm down graded stone chips. | cum | 1.6813 | 13441.59 | 22599.8157 | 4111317
31 | DT1 | U1 | P1 | D1 | C1 | Z1 | MR1 | Bay Paving Tiles | sqm | 306 | 980 | 299880 | 4111317
32 | DT1 | U1 | P1 | D1 | C1 | Z1 | 64-160-10 | Supplying, fitting and fixing glazed tiles of approved size, colour, quality and design in floors/ walls upto required length, breadth and height, set in 20mm thick cement mortar (1:4), including cutting & edging the tiles where necessary filling the joints by white cement and matching colour including the cost of all materials etc. complete as per direction of Engineer in charge. Various size (on walls). | sqm | 61.3256 | 1854.18 | 113708.701 | 4111317
33 | DT1 | U1 | P1 | D1 | C1 | Z1 | 64-160-20 | Supplying, fitting and fixing glazed tiles of approved size, colour, quality and design in floors/ walls upto required length, breadth and height, set in 20mm thick cement mortar (1:4), including cutting & edging the tiles where necessary filling the joints by white cement and matching colour including the cost of all materials etc. complete as per direction of Engineer in charge. Various size (on floors). | sqm | 41.4978 | 1993.75 | 82736.2388 | 4111317
34 | DT1 | U1 | P1 | D1 | C1 | Z1 | 04-530 | Supplying, fitting and fixing 12 BWG galvanised barbed wire fencing (single line) with 2 ply wire, 4 points 100mm apart, fitted with balli posts/ angle posts etc. with necessary nails/ G.I. wire (2 ply 16 BWG) etc. complete as per direction of Engineer in charge (excluding the cost of posts). | m | 5257.9 | 25.54 | 134286.766 | 4111317
35 | DT1 | U1 | P1 | D1 | C1 | Z1 | 40-540-20 | Supplying and laying stone chips as filter in two layers (Top and bottom) as per specific size ranges and gradation including preparation of surface, grading, compacting each layer etc. complete with supply of all materials and as per direction of Engineer in charge. Well graded between 40mm to 20mm size. | cum | 1.16 | 8693.74 | 10084.7384 | 4111317
36 | DT1 | U1 | P1 | D1 | C1 | Z1 | 40-540-30 | Supplying and laying stone chips as filter in two layers (Top and bottom) as per specific size ranges and gradation including preparation of surface, grading, compacting each layer etc. complete with supply of all materials and as per direction of Engineer in charge. Well graded between 20mm to 5mm size. (Combination of sub-items 10 & 30 or 20 & 30 shall be used). | cum | 3.99 | 9057.36 | 36138.8664 | 4111317
37 | DT1 | U1 | P1 | D1 | C1 | Z1 | 40-550-20 | Supplying and laying sand as filter layers as per specific size ranges and gradation including preparation of surface, compacting in layer etc. complete with supply of all materials and as per direction of Engineer in charge. FM : 1.5 to 2.0 | cum | 2.1414 | 2125.05 | 4550.6618 | 4111317
38 | DT1 | U1 | P1 | D1 | C1 | Z1 | 64-500-10 | Supplying, fitting and fixing C.I. sheet roofing, with G.I.nuts, limped, washers, screws, bolts etc. and fitting, fixing with 76mm hooks with at least 2 pitch lapping etc. complete, including the cost of all materials as per direction of Engineer in charge. 0.63mm or 24 BWG C.I. sheet. | sqm | 13.9925 | 759.47 | 10626.884 | 4111317
39 | DT1 | U1 | P1 | D1 | C1 | Z1 | 80-270-30 | Supplying, fitting and fixing CI/PVC pipe, with necessary bends, tees, elbows, clamps etc. and other necessary fittings for all types of works as per direction of Engineer in charge. 100mm dia PVC pipe. | m | 1.2 | 381.38 | 457.656 | 4111317
40 | DT1 | U1 | P1 | D1 | C1 | Z1 | MR2 | Supplying, fitting and fixing 25mm dia PVC pipe. | m | 2.2 | 120 | 264 | 4111317
41 | DT1 | U1 | P1 | D1 | C1 | Z1 | MR3 | Supplying, fitting and fixing Stop Valve. | each | 6 | 1800 | 10800 | 4111317
42 | DT1 | U1 | P1 | D1 | C1 | Z1 | 80-100-10 | Supplying and sinking 40mm dia G.I. tubewell pipe including test boring and hiring of all necessary equipments with all necessary fittings as required etc. all complete including the cost of all materials as per direction of Engineer in charge. Depth upto 60m. | m | 14.7 | 386.89 | 5687.283 | 4111317
43 | DT1 | U1 | P1 | D1 | C1 | Z1 | 80-140 | Supplying, fitting and fixing pump No. 6 for 40mm dia tubewell, as per approved quality with all accessories etc. complete including the cost of all materials as per direction of Engineer in charge. | each | 2 | 2868.93 | 5737.86 | 4111317
44 | DT1 | U1 | P1 | D1 | C1 | Z1 | MR4 | Solar water pumping system (Average Flow rate : Minimum 40 liter/min, Centrifugal pump, 12 - 24 Volt DC Motor 1 HP, RPM 3000 Max., Panel power 900 - 1000 W, Charge Controller, Suction and delivery pipe of 38mm diameter, Cable, Mounting Structure & other accessories). | each | 2 | 130000 | 260000 | 4111317
45 | DT1 | U1 | P1 | D1 | C1 | Z1 | MR5 | Plastic water tank to ensure safe storage of potable water (Capacity 1000 liter) | each | 4 | 25000 | 100000 | 4111317
46 | DT1 | U1 | P1 | D1 | C1 | Z1 | MR6 | Suppling, fitting, fixing SS pipe 100mm dia | m | 8 | 2500 | 20000 | 4111317
47 | DT1 | U1 | P1 | D1 | C1 | Z1 | MR7 | Suppling, fitting, fixing SS pipe 75mm dia | m | 12.5 | 1800 | 22500 | 4111317
48 | DT1 | U1 | P1 | D1 | C1 | Z1 | MR8 | Suppling, fitting, fixing SS pipe 25mm dia | m | 25 | 550 | 13750 | 4111317
49 | DT1 | U1 | P1 | D1 | C1 | Z1 | 48-100 | Fine dressing and close turfing of the slopes and the crest of embankment with 75mm thick, good quality durba or charkanta sods of size 200mm x 200mm, with all leads and lifts, including ramming, watering until the turf grows properly, aintaining etc. complete (measurement will be given on well grown grass only) as per direction of Engineer in charge. | sqm | 1857.78 | 33.94 | 63053.0532 | 4111317
50 | DT1 | U1 | P1 | D1 | C1 | Z1 | 48-220 | Plantation of all kinds of timber plants and fruit plants such as Mehegany, Teak, Sal, Chamble, Mango, Jack, Lichi, Kul etc including cutting earth and supplying at site average 1.0m height plant, including putting manure by digging 45cm dia hole, to a depth of average 30cm, supplying and mixing 7.56 kg of manure, tieing the plant with 1.50m split bamboo post and keeping it wet for one month before plantation including guarding the plant for 6 months as per direction of Engineer in Charge. | each | 156 | 346.77 | 54096.12 | 4113102
51 | DT1 | U1 | P1 | D1 | C1 | Z1 | MR9 | Name Plate (Size 1.1 m x 1 m) | each | 1 | 4000 | 4000 | 4111317
52 | DT1 | U2 | P2 | D1 | C1 | Z1 | 16-100 | Erection of bamboo profile with full bamboo posts and pegs not less than 60mm in diameter and coir strings etc. complete as per direction of Engineer in charge. | each | 30 | 370.47 | 11114.1 | 4111310
53 | DT1 | U2 | P2 | D1 | C1 | Z1 | 04-700-10 | Erection and maintenance of site office and removal of the same after completion of work as per approved plans & drawings for the use of the Engineer-in-charge & his staff, Task force and field laboratory with adequate foundation, brick walls, acceptable outside & inside wall surface, concrete floor with floor tiles, false ceiling of gypsum board, windows are to be glazed & provided with steel grill & screen/blinds, doors with approved locks, furniture & fittings of approved quality, equipment & plant of approved quality, electricity, running water, sewerage, security fencing, 5 KVA stand-bye generator, IBM compatible PC with monitor, uninterruptible power supply (UPS), LaserJet printer (minimum 25 ppm), first aid-box, safety helmet, level/theodolite/EDM, consumables, stationeries, day & night guards & a tea boy and site office shall be ready for occupation by the Engineer-in-charge within 28 days of commencement of work, etc. complete as per direction of Engineer-in-charge. (This is a time related item; proportionate payment for this item shall be made distributing in each bill on the basis of percentage progress of the whole works under contract). Site office of minimum 38 sqm plinth area. | each | 1 | 508581.43 | 508581.43 | 4111310
54 | DT1 | U2 | P2 | D1 | C1 | Z1 | 12-310-20 | Bailing out of water with all leads and lifts by manual labour or pump, with all arrangements for protection of ring bund and side slopes of foundation pit against erosion or washout etc. complete (actual volume of work will be measured by sounding method before starting the work) as per direction of Engineer in charge. by pump. | cum | 12750 | 7.61 | 97027.5 | 4111310
55 | DT1 | U2 | P2 | D1 | C1 | Z1 | 16-490-20 | Earth work by manual labour in all kinds of soil for excavation/ re-excavation of pond/ tank and constructing bank as per design and specification, throwing the spoil earth in layers of 150mm including breaking clods, dressing, profiling etc. complete with all leads and lifts as per direction of Engineer in charge. For slushy or percolating soil. | cum | 5437.5 | 261.13 | 1419894.375 | 4111310
56 | DT1 | U2 | P2 | D1 | C1 | Z1 | 16-410 | Earth work by Mechanical Excavator (Long Boom) in all kinds of soil in excavation / re-excavation of channel/canal/khal etc. including disposal of spoil-soil upto 30m away from the point of excavation with rough dressing and levelling etc. complete as per direction of Engineer-in-Charge. | cum | 4198.788 | 127.88 | 536941.0094 | 4111310
57 | DT1 | U2 | P2 | D1 | C1 | Z1 | 16-420 | Extra Rate for every additional shift of Dredged/Excavated earth or shifting of earth by Mechanical Excavator (Long Boom) of 30m or part thereof beyond the initial shift of 30m upto a maximum of 9 shift for all kind of earthwork shift. (Unit: per shift per cum). No. of shift = ... Nos. | pspc | 4198.788 | 40.14 | 168539.3503 | 4111310
58 | DT1 | U2 | P2 | D1 | C1 | Z1 | 16-430-10 | Extra Rate for Carriage of Dredged earth/Excavated earth or shifting of earth by dump truck including loading, unloading complete as per direction of Engineer in charge. Carriage by Dump Truck: Up to 1.0 km | cum | 0 | 85.33 | 0 | 4111310
59 | DT1 | U2 | P2 | D1 | C1 | Z1 | 16-150-10 | Compaction of earth in constructing/resectioning of embankment/ canal bank/road/river slopes etc. by mechanical equipment to attain 85% / 90% maximum dry density at optimum moisture content with reference to laboratory density test AASTHO-180 modified hammer in all kinds of soils as per direction of Engineer in charge. 0.0m to 6.0m height and above, with 85% compaction. | cum | 3408.288 | 31.29 | 106645.3315 | 4111310
60 | DT1 | U2 | P2 | D1 | C1 | Z1 | 16-310-20 | Providing clay blanket/clay core by carried earth supplied at contractor's own cost (including royalty) in different thickness over embankment crest and side slopes/embankment core/bed and slope of irrigation canal/crest and side slopes of irrigation canal dykes etc. with selected clay (clay content minimum 80% and silt content maximum 20%) including throwing clay in layers not exceeding 150mm in thickness, clod breaking, benching the side slopes, and compacting to 85% maximum dry density at optimum moisture content with suitable equipment, dressing etc. complete (clay blanket should be extended upto 0.5m below the berm on the outside of embankment/ irrigation canal dyke etc.) as per design, specification and direction of Engineer in charge. Carried by truck/boat or any means: 300m to 1.0km. | cum | 198.1692 | 555.73 | 110128.5841 | 4111310
61 | DT1 | U2 | P2 | D1 | C1 | Z1 | 16-310-30 | Providing clay blanket/clay core by carried earth supplied at contractor's own cost (including royalty) in different thickness over embankment crest and side slopes/embankment core/bed and slope of irrigation canal/crest and side slopes of irrigation canal dykes etc. with selected clay (clay content minimum 80% and silt content maximum 20%) including throwing clay in layers not exceeding 150mm in thickness, clod breaking, benching the side slopes, and compacting to 85% maximum dry density at optimum moisture content with suitable equipment, dressing etc. complete (clay blanket should be extended upto 0.5m below the berm on the outside of embankment/ irrigation canal dyke etc.) as per design, specification and direction of Engineer in charge. Carried by truck/boat or any means: 1.0km to 5.0km. (Extra rate) | cum | 198.1692 | 49.09 | 9728.1273 | 4111310
62 | DT1 | U2 | P2 | D1 | C1 | Z1 | 16-500 | Earth work in excavation of foundation trenches in all kinds of soils including levelling, dressing, placing, removal of spoils to a safe distance with initial lead of 30m and lift of 1.5m as per direction of Engineer in charge. | cum | 1000.4502 | 247.75 | 247861.547 | 4111317
63 | DT1 | U2 | P2 | D1 | C1 | Z1 | 16-620-30 | Shoring for slope protection of foundation trench, canal, embankment, road, pond etc. as per design slopes, grades including removal of spoils to a safe distance as per direction of Engineer in charge. By local hard wood ballah post of 6.0m length, 125mm dia, 1.0m c/c, and 2.0m drive with 6.0m long bamboo of avarage 75mm dia, @ 1.0m c/c and 2.0m drive with drum sheet walling and average 70mm dia half split bamboo batten @ 2.0m c/c fixed with nails. | sqm | 24.1 | 1023.65 | 24669.965 | 4111317
64 | DT1 | U2 | P2 | D1 | C1 | Z1 | 16-540-20 | Supplying and filling sand in foundation of hydraulic structures, buildings and in protective works with selected sand, in 150mm thick layer, including levelling, dressing, ramming, watering etc. complete (compacted to 50% relative density by manual labour using mallet/ vibro compactor) as per direction of Engineer in charge. Sand of FM>=1.50 | cum | 255.8713 | 1710.21 | 437593.656 | 4111317
65 | DT1 | U2 | P2 | D1 | C1 | Z1 | 20-100-10 | Single brick flat soling including preparation of bed, sand filling (FM>=0.50), levelling, dressing and sand blinding in foundation or floor with supply of all materials etc. complete and as per direction of Engineer in charge. With 1st class bricks | sqm | 5.4 | 467.54 | 2524.716 | 4111317
66 | DT1 | U2 | P2 | D1 | C1 | Z1 | 20-200-10 | Brick work with 1st. class bricks in cement mortar (sand of FM>=1.50) in foundation and plinth, including soaking bricks in clean water for 6 hours, cleaning the bricks, raking out joints, staging, sorting, curing at least for 7 days, including supply of all materials etc. complete and as per direction of Engineer in charge. proportion: 1:4 | cum | 42.1967 | 7719.47 | 325736.4106 | 4111317
67 | DT1 | U2 | P2 | D1 | C1 | Z1 | 20-220-10 | Extra rate for brick work in superstructure in different stories, over the rates of brick work in foundation and plinth: Ground floor superstructure | cum | 29.9736 | 213.99 | 6414.0571 | 4111317
68 | DT1 | U2 | P2 | D1 | C1 | Z1 | 24-100-10 | Minimum 20mm thick sand cement plaster, (sand of FM>=1.3) in ground floor, including scaffolding, raking out joints, making sharp edges and corners, cleaning the surface, curing for at least seven days etc. complete including the cost of all materials and as per direction of Engineer in charge. proportion 1:4 | sqm | 121.565 | 414.5 | 50388.6925 | 4111317
69 | DT1 | U2 | P2 | D1 | C1 | Z1 | 24-180 | Neat cement finishing on plaster surfaces just after initial setting of plaster in all floors including curing at least for seven days with supply of all materials etc complete as per direction of Engineer in charge. | sqm | 121.565 | 110.76 | 13464.5394 | 4111317
70 | DT1 | U2 | P2 | D1 | C1 | Z1 | 28-120-30 | Cement concrete work in leanest mix. 1:3:6 with sand of FM>=1.5, in foundation or floor including breaking, screening, grading and washing aggregates with clear water, mixing, laying in position, consolidation to levels, curing, including supply of all materials, excluding the cost of formworks etc. complete as per direction of Engineer in charge. With 25mm down graded stone shingles. | cum | 21.9371 | 11792.23 | 258687.1813 | 4111317
71 | DT1 | U2 | P2 | D1 | C1 | Z1 | 76-120-10 | M.S. Work for reinforcement with deformed M.S. bar, fy=400 N/mm², (made from billet) in RCC works, including local handling, cutting, forging, bending, cleaning and fabrication with supply of deformed M.S. bar in different sizes and binding with 22 to 18 gages G.I. wire etc. complete including the cost of all materials as per direction of Engineer in charge. 8mm dia to 30mm dia. | kg | 49985.6333 | 103.13 | 5155018.3668 | 4111317
72 | DT1 | U2 | P2 | D1 | C1 | Z1 | 76-170 | M.S. Work in plates, angles, channels, flat bars, Tees etc. including fabricating, machining, cutting, bending, welding, forging, drilling, revetting, embedding anchor bars, staging and fitting, fixing, local handling etc. comlpete with energy consumption and supply of labours including the cost of materials as per design, specification and direction of Engineer in charge. | kg | 10.9055 | 163.18 | 1779.5595 | 4111317
73 | DT1 | U2 | P2 | D1 | C1 | Z1 | 28-200-10 | Reinforced cement concrete work in leanest mix. 1:1.5:3, with 20mm down graded coarse aggregates and sand of FM>2.0 to FM<=2.5, to attain a minimum 28 day cylinder strength of 22.0 N/mm², including breaking, screening, grading, ashing aggregates with clean water, mixing, laying in forms, consolidation to levels, curing, including supply of all materials, excluding cost of M.S. work for reinforcements and formworks etc. complete and as per direction of Engineer in charge. with stone chips | cum | 558.3794 | 15521.62 | 8666953.2196 | 4111317
74 | DT1 | U2 | P2 | D1 | C1 | Z1 | 36-150-60 | Formwork for centering and water tight shuttering as per drawing with 14 BWG M.S. sheet, fitted and fixed with 40mmx40mmx6mm M.S. angle frame and 25mmx6mm F.I. bar stiffener, with necessary fabrication, welding, making the forms including fitting, fixing of steel forms with necessary ties, battens, struts, nuts & bolts, props etc. as per desired shape and size including levelling and removing the forms after specified period including the cost of all materials as per direction of Engineer in charge. Footing, footing beams, grade beams, foundation slab with 60-80mm dia barrack bamboo props. | sqm | 1326.2269 | 959.85 | 1272978.8452 | 4111317
75 | DT1 | U2 | P2 | D1 | C1 | Z1 | 36-150-10 | Formwork for centering and water tight shuttering as per drawing with 14 BWG M.S. sheet, fitted and fixed with 40mmx40mmx6mm M.S. angle frame and 25mmx6mm F.I. bar stiffener, with necessary fabrication, welding, making the forms including fitting, fixing of steel forms with necessary ties, battens, struts, nuts & bolts, props etc. as per desired shape and size including levelling and removing the forms after specified period including the cost of all materials as per direction of Engineer in charge. Vertical and inclined walls, columns, piers with 60-80mm dia barrack bamboo props. | sqm | 2049.9844 | 1187.98 | 2435340.5079 | 4111317
76 | DT1 | U2 | P2 | D1 | C1 | Z1 | 44-200 | Construction of pile yard for casting RCC pile with 50mm thick cement concrete (1:3:6) with cement, sand (FM>=1.5) and 20mm down graded picked jhama or 1st class brick chips including breaking, screening, grading and washing chips, mixing, laying and compacting to levels, over a brick flat soling with 1st class bricks including preparation of base, sand filling to make a level base, ramming and sand blinding with sand of FM>=0.8 etc. complete with neat cement finish over the concrete surface including the cost for supply of all materials and as per direction of Engineer in charge. | sqm | 296 | 810.52 | 239913.92 | 4111317
77 | DT1 | U2 | P2 | D1 | C1 | Z1 | 44-110 | Manufacturing, supplying and fitting fixing M.S. Shoe at RCC pile tip with tip area 20mmx20mm, butt area 135mmx135mm and height 200mm, fabricated with 6mm thick 4 nos M.S. plate (20mmx135mmx200mm) at sides and one plate (20mmx20mm) at tip, having 6mm thick continuous fillet weld at all joints and 16mm dia 500mm long anchor bar welded to the tip plate at one end and hooked at the other end etc. complete including cost of all materials and as per direction of Engineer in charge. | each | 32 | 1232.97 | 39455.04 | 4111317
78 | DT1 | U2 | P2 | D1 | C1 | Z1 | 44-100-40 | Driving precast RCC pile upto 15.0 m length including layout, providing center line and Bench Mark pillars, carriage of piles from yard to driving point and driving through hard strata, if any, including the cost of installation, demobilization and carriage of all equipments, auxillary items, labours, materials etc. complete, as per direction of Engineer in charge. Size 350mm x 350mm | m | 384 | 881.76 | 338595.84 | 4111317
79 | DT1 | U2 | P2 | D1 | C1 | Z1 | 44-140 | Labour for breaking of head of cast in situ bored pile/precast pile upto required length by any means and removing the dismantled materials such as concrete to a safe distance including scrapping and removing concrete from steel/M.S. rods, all sorts of handling, stacking the same properly after clearing, levelling and dressing the site and clearing the river bed etc. complete as per direction of Engineer in charge. | cum | 1.7525 | 3735.58 | 6546.5292 | 4111317
80 | DT1 | U2 | P2 | D1 | C1 | Z1 | 40-230-40 | Manufacturing and supplying C.C. blocks in leanest mix. 1:2:4 with cement, sand (FM>=2.0) and Stone Chips (40mm down graded) to attain a 28 days cylinder strength of 18 N/mm² including grading, washing stone chips, mixing, laying in forms, consolidation, curing for at least 21 days, including preparation of platform, shuttering and stacking in measurable stacks etc. complete including supply of all materials (steel shutter to be used) as per direction of Engineer in charge. Block Size: 40cmx40cmx20cm. | each | 1024 | 516.62 | 529018.88 | 4111317
81 | DT1 | U2 | P2 | D1 | C1 | Z1 | 40-270-10 | Labour charge for protective works in laying CC blocks of different sizes including preparation of base, watering and ramming of base etc. complete as per direction of Engineer in charge. Within 200 m. | cum | 32.768 | 1452.75 | 47603.712 | 4111317
82 | DT1 | U2 | P2 | D1 | C1 | Z1 | 28-100-20 | Cement concrete work in leanest mix. 1:4:8, with sand of M>=1.5, in foundation or floor, including breaking, screening, grading and washing aggregates with clear water, mixing, laying in position, consolidation to levels, curing, including supply of all materials, excluding the cost of formworks etc. complete as per direction of Engineer in charge. With 25mm down graded stone chips. | cum | 2.3158 | 13441.59 | 31128.5046 | 4111317
83 | DT1 | U2 | P2 | D1 | C1 | Z1 | MR1 | Bay Paving Tiles | sqm | 358.36 | 980 | 351192.8 | 4111317
84 | DT1 | U2 | P2 | D1 | C1 | Z1 | 64-160-10 | Supplying, fitting and fixing glazed tiles of approved size, colour, quality and design in floors/ walls upto required length, breadth and height, set in 20mm thick cement mortar (1:4), including cutting & edging the tiles where necessary filling the joints by white cement and matching colour including the cost of all materials etc. complete as per direction of Engineer in charge. Various size (on walls). | sqm | 81.232 | 1854.18 | 150618.7498 | 4111317
85 | DT1 | U2 | P2 | D1 | C1 | Z1 | 64-160-20 | Supplying, fitting and fixing glazed tiles of approved size, colour, quality and design in floors/ walls upto required length, breadth and height, set in 20mm thick cement mortar (1:4), including cutting & edging the tiles where necessary filling the joints by white cement and matching colour including the cost of all materials etc. complete as per direction of Engineer in charge. Various size (on floors). | sqm | 55.2978 | 1993.75 | 110249.9888 | 4111317
86 | DT1 | U2 | P2 | D1 | C1 | Z1 | 04-530 | Supplying, fitting and fixing 12 BWG galvanised barbed wire fencing (single line) with 2 ply wire, 4 points 100mm apart, fitted with balli posts/ angle posts etc. with necessary nails/ G.I. wire (2 ply 16 BWG) etc. complete as per direction of Engineer in charge (excluding the cost of posts). | m | 6085.9 | 25.54 | 155433.886 | 4111317
87 | DT1 | U2 | P2 | D1 | C1 | Z1 | 40-540-20 | Supplying and laying stone chips as filter in two layers (Top and bottom) as per specific size ranges and gradation including preparation of surface, grading, compacting each layer etc. complete with supply of all materials and as per direction of Engineer in charge. Well graded between 40mm to 20mm size. | cum | 1.16 | 8693.74 | 10084.7384 | 4111317
88 | DT1 | U2 | P2 | D1 | C1 | Z1 | 40-540-30 | Supplying and laying stone chips as filter in two layers (Top and bottom) as per specific size ranges and gradation including preparation of surface, grading, compacting each layer etc. complete with supply of all materials and as per direction of Engineer in charge. Well graded between 20mm to 5mm size. (Combination of sub-items 10 & 30 or 20 & 30 shall be used). | cum | 3.99 | 9057.36 | 36138.8664 | 4111317
89 | DT1 | U2 | P2 | D1 | C1 | Z1 | 40-550-20 | Supplying and laying sand as filter layers as per specific size ranges and gradation including preparation of surface, compacting in layer etc. complete with supply of all materials and as per direction of Engineer in charge. FM : 1.5 to 2.0 | cum | 2.7489 | 2125.05 | 5841.6296 | 4111317
90 | DT1 | U2 | P2 | D1 | C1 | Z1 | 64-500-10 | Supplying, fitting and fixing C.I. sheet roofing, with G.I.nuts, limped, washers, screws, bolts etc. and fitting, fixing with 76mm hooks with at least 2 pitch lapping etc. complete, including the cost of all materials as per direction of Engineer in charge. 0.63mm or 24 BWG C.I. sheet. | sqm | 13.9925 | 759.47 | 10626.884 | 4111317
91 | DT1 | U2 | P2 | D1 | C1 | Z1 | 80-270-30 | Supplying, fitting and fixing CI/PVC pipe, with necessary bends, tees, elbows, clamps etc. and other necessary fittings for all types of works as per direction of Engineer in charge. 100mm dia PVC pipe. | m | 1.2 | 381.38 | 457.656 | 4111317
92 | DT1 | U2 | P2 | D1 | C1 | Z1 | MR2 | Supplying, fitting and fixing 25mm dia PVC pipe. | m | 2.2 | 120 | 264 | 4111317
93 | DT1 | U2 | P2 | D1 | C1 | Z1 | MR3 | Supplying, fitting and fixing Stop Valve. | each | 6 | 1800 | 10800 | 4111317
94 | DT1 | U2 | P2 | D1 | C1 | Z1 | 80-100-10 | Supplying and sinking 40mm dia G.I. tubewell pipe including test boring and hiring of all necessary equipments with all necessary fittings as required etc. all complete including the cost of all materials as per direction of Engineer in charge. Depth upto 60m. | m | 14.7 | 386.89 | 5687.283 | 4111317
95 | DT1 | U2 | P2 | D1 | C1 | Z1 | 80-140 | Supplying, fitting and fixing pump No. 6 for 40mm dia tubewell, as per approved quality with all accessories etc. complete including the cost of all materials as per direction of Engineer in charge. | each | 2 | 2868.93 | 5737.86 | 4111317
96 | DT1 | U2 | P2 | D1 | C1 | Z1 | MR4 | Solar water pumping system (Average Flow rate : Minimum 40 liter/min, Centrifugal pump, 12 - 24 Volt DC Motor 1 HP, RPM 3000 Max., Panel power 900 - 1000 W, Charge Controller, Suction and delivery pipe of 38mm diameter, Cable, Mounting Structure & other accessories). | each | 2 | 130000 | 260000 | 4111317
97 | DT1 | U2 | P2 | D1 | C1 | Z1 | MR5 | Plastic water tank to ensure safe storage of potable water (Capacity 1000 liter) | each | 4 | 25000 | 100000 | 4111317
98 | DT1 | U2 | P2 | D1 | C1 | Z1 | MR6 | Suppling, fitting, fixing SS pipe 100mm dia | m | 8 | 2500 | 20000 | 4111317
99 | DT1 | U2 | P2 | D1 | C1 | Z1 | MR7 | Suppling, fitting, fixing SS pipe 75mm dia | m | 12.5 | 1800 | 22500 | 4111317
100 | DT1 | U2 | P2 | D1 | C1 | Z1 | MR8 | Suppling, fitting, fixing SS pipe 25mm dia | m | 25 | 550 | 13750 | 4111317
101 | DT1 | U2 | P2 | D1 | C1 | Z1 | 48-100 | Fine dressing and close turfing of the slopes and the crest of embankment with 75mm thick, good quality durba or charkanta sods of size 200mm x 200mm, with all leads and lifts, including ramming, watering until the turf grows properly, aintaining etc. complete (measurement will be given on well grown grass only) as per direction of Engineer in charge. | sqm | 1857.78 | 33.94 | 63053.0532 | 4111317
102 | DT1 | U2 | P2 | D1 | C1 | Z1 | 48-220 | Plantation of all kinds of timber plants and fruit plants such as Mehegany, Teak, Sal, Chamble, Mango, Jack, Lichi, Kul etc including cutting earth and supplying at site average 1.0m height plant, including putting manure by digging 45cm dia hole, to a depth of average 30cm, supplying and mixing 7.56 kg of manure, tieing the plant with 1.50m split bamboo post and keeping it wet for one month before plantation including guarding the plant for 6 months as per direction of Engineer in Charge. | each | 156 | 346.77 | 54096.12 | 4113102
103 | DT1 | U2 | P2 | D1 | C1 | Z1 | MR9 | Name Plate (Size 1.1 m x 1 m) | each | 1 | 4000 | 4000 | 4111317
104 | DT1 | U3 | P3 | D1 | C1 | Z1 | 16-100 | Erection of bamboo profile with full bamboo posts and pegs not less than 60mm in diameter and coir strings etc. complete as per direction of Engineer in charge. | each | 22 | 370.47 | 8150.34 | 4111310
105 | DT1 | U3 | P3 | D1 | C1 | Z1 | 04-700-10 | Erection and maintenance of site office and removal of the same after completion of work as per approved plans & drawings for the use of the Engineer-in-charge & his staff, Task force and field laboratory with adequate foundation, brick walls, acceptable outside & inside wall surface, concrete floor with floor tiles, false ceiling of gypsum board, windows are to be glazed & provided with steel grill & screen/blinds, doors with approved locks, furniture & fittings of approved quality, equipment & plant of approved quality, electricity, running water, sewerage, security fencing, 5 KVA stand-bye generator, IBM compatible PC with monitor, uninterruptible power supply (UPS), LaserJet printer (minimum 25 ppm), first aid-box, safety helmet, level/theodolite/EDM, consumables, stationeries, day & night guards & a tea boy and site office shall be ready for occupation by the Engineer-in-charge within 28 days of commencement of work, etc. complete as per direction of Engineer-in-charge. (This is a time related item; proportionate payment for this item shall be made distributing in each bill on the basis of percentage progress of the whole works under contract). Site office of minimum 38 sqm plinth area. | each | 1 | 508581.43 | 508581.43 | 4111310
106 | DT1 | U3 | P3 | D1 | C1 | Z1 | 12-310-20 | Bailing out of water with all leads and lifts by manual labour or pump, with all arrangements for protection of ring bund and side slopes of foundation pit against erosion or washout etc. complete (actual volume of work will be measured by sounding method before starting the work) as per direction of Engineer in charge. by pump. | cum | 9000 | 7.61 | 68490 | 4111310
107 | DT1 | U3 | P3 | D1 | C1 | Z1 | 16-490-20 | Earth work by manual labour in all kinds of soil for excavation/ re-excavation of pond/ tank and constructing bank as per design and specification, throwing the spoil earth in layers of 150mm including breaking clods, dressing, profiling etc. complete with all leads and lifts as per direction of Engineer in charge. For slushy or percolating soil. | cum | 3750 | 261.13 | 979237.5 | 4111310
108 | DT1 | U3 | P3 | D1 | C1 | Z1 | 16-410 | Earth work by Mechanical Excavator (Long Boom) in all kinds of soil in excavation / re-excavation of channel/canal/khal etc. including disposal of spoil-soil upto 30m away from the point of excavation with rough dressing and levelling etc. complete as per direction of Engineer-in-Charge. | cum | 3327.293 | 127.88 | 425494.2288 | 4111310
109 | DT1 | U3 | P3 | D1 | C1 | Z1 | 16-420 | Extra Rate for every additional shift of Dredged/Excavated earth or shifting of earth by Mechanical Excavator (Long Boom) of 30m or part thereof beyond the initial shift of 30m upto a maximum of 9 shift for all kind of earthwork shift. (Unit: per shift per cum). No. of shift = ... Nos. | pspc | 3327.293 | 40.14 | 133557.541 | 4111310
110 | DT1 | U3 | P3 | D1 | C1 | Z1 | 16-430-10 | Extra Rate for Carriage of Dredged earth/Excavated earth or shifting of earth by dump truck including loading, unloading complete as per direction of Engineer in charge. Carriage by Dump Truck: Up to 1.0 km | cum | 0 | 85.33 | 0 | 4111310
111 | DT1 | U3 | P3 | D1 | C1 | Z1 | 16-150-10 | Compaction of earth in constructing/resectioning of embankment/ canal bank/road/river slopes etc. by mechanical equipment to attain 85% / 90% maximum dry density at optimum moisture content with reference to laboratory density test AASTHO-180 modified hammer in all kinds of soils as per direction of Engineer in charge. 0.0m to 6.0m height and above, with 85% compaction. | cum | 2640.288 | 31.29 | 82614.6115 | 4111310
112 | DT1 | U3 | P3 | D1 | C1 | Z1 | 16-310-20 | Providing clay blanket/clay core by carried earth supplied at contractor's own cost (including royalty) in different thickness over embankment crest and side slopes/embankment core/bed and slope of irrigation canal/crest and side slopes of irrigation canal dykes etc. with selected clay (clay content minimum 80% and silt content maximum 20%) including throwing clay in layers not exceeding 150mm in thickness, clod breaking, benching the side slopes, and compacting to 85% maximum dry density at optimum moisture content with suitable equipment, dressing etc. complete (clay blanket should be extended upto 0.5m below the berm on the outside of embankment/ irrigation canal dyke etc.) as per design, specification and direction of Engineer in charge. Carried by truck/boat or any means: 300m to 1.0km. | cum | 147.8159 | 555.73 | 82145.7304 | 4111310
113 | DT1 | U3 | P3 | D1 | C1 | Z1 | 16-310-30 | Providing clay blanket/clay core by carried earth supplied at contractor's own cost (including royalty) in different thickness over embankment crest and side slopes/embankment core/bed and slope of irrigation canal/crest and side slopes of irrigation canal dykes etc. with selected clay (clay content minimum 80% and silt content maximum 20%) including throwing clay in layers not exceeding 150mm in thickness, clod breaking, benching the side slopes, and compacting to 85% maximum dry density at optimum moisture content with suitable equipment, dressing etc. complete (clay blanket should be extended upto 0.5m below the berm on the outside of embankment/ irrigation canal dyke etc.) as per design, specification and direction of Engineer in charge. Carried by truck/boat or any means: 1.0km to 5.0km. (Extra rate) | cum | 147.8159 | 49.09 | 7256.2826 | 4111310
114 | DT1 | U3 | P3 | D1 | C1 | Z1 | 16-500 | Earth work in excavation of foundation trenches in all kinds of soils including levelling, dressing, placing, removal of spoils to a safe distance with initial lead of 30m and lift of 1.5m as per direction of Engineer in charge. | cum | 935.0155 | 247.75 | 231650.0876 | 4111317
115 | DT1 | U3 | P3 | D1 | C1 | Z1 | 16-620-30 | Shoring for slope protection of foundation trench, canal, embankment, road, pond etc. as per design slopes, grades including removal of spoils to a safe distance as per direction of Engineer in charge. By local hard wood ballah post of 6.0m length, 125mm dia, 1.0m c/c, and 2.0m drive with 6.0m long bamboo of avarage 75mm dia, @ 1.0m c/c and 2.0m drive with drum sheet walling and average 70mm dia half split bamboo batten @ 2.0m c/c fixed with nails. | sqm | 24.1 | 1023.65 | 24669.965 | 4111317
116 | DT1 | U3 | P3 | D1 | C1 | Z1 | 16-540-20 | Supplying and filling sand in foundation of hydraulic structures, buildings and in protective works with selected sand, in 150mm thick layer, including levelling, dressing, ramming, watering etc. complete (compacted to 50% relative density by manual labour using mallet/ vibro compactor) as per direction of Engineer in charge. Sand of FM>=1.50 | cum | 238.1263 | 1710.21 | 407245.9795 | 4111317
117 | DT1 | U3 | P3 | D1 | C1 | Z1 | 20-100-10 | Single brick flat soling including preparation of bed, sand filling (FM>=0.50), levelling, dressing and sand blinding in foundation or floor with supply of all materials etc. complete and as per direction of Engineer in charge. With 1st class bricks | sqm | 5.4 | 467.54 | 2524.716 | 4111317
118 | DT1 | U3 | P3 | D1 | C1 | Z1 | 20-200-10 | Brick work with 1st. class bricks in cement mortar (sand of FM>=1.50) in foundation and plinth, including soaking bricks in clean water for 6 hours, cleaning the bricks, raking out joints, staging, sorting, curing at least for 7 days, including supply of all materials etc. complete and as per direction of Engineer in charge. proportion: 1:4 | cum | 39.6767 | 7719.47 | 306283.3462 | 4111317
119 | DT1 | U3 | P3 | D1 | C1 | Z1 | 20-220-10 | Extra rate for brick work in superstructure in different stories, over the rates of brick work in foundation and plinth: Ground floor superstructure | cum | 29.9736 | 213.99 | 6414.0571 | 4111317
120 | DT1 | U3 | P3 | D1 | C1 | Z1 | 24-100-10 | Minimum 20mm thick sand cement plaster, (sand of FM>=1.3) in ground floor, including scaffolding, raking out joints, making sharp edges and corners, cleaning the surface, curing for at least seven days etc. complete including the cost of all materials and as per direction of Engineer in charge. proportion 1:4 | sqm | 121.565 | 414.5 | 50388.6925 | 4111317
121 | DT1 | U3 | P3 | D1 | C1 | Z1 | 24-180 | Neat cement finishing on plaster surfaces just after initial setting of plaster in all floors including curing at least for seven days with supply of all materials etc complete as per direction of Engineer in charge. | sqm | 121.565 | 110.76 | 13464.5394 | 4111317
122 | DT1 | U3 | P3 | D1 | C1 | Z1 | 28-120-30 | Cement concrete work in leanest mix. 1:3:6 with sand of FM>=1.5, in foundation or floor including breaking, screening, grading and washing aggregates with clear water, mixing, laying in position, consolidation to levels, curing, including supply of all materials, excluding the cost of formworks etc. complete as per direction of Engineer in charge. With 25mm down graded stone shingles. | cum | 16.7311 | 11792.23 | 197297.569 | 4111317
123 | DT1 | U3 | P3 | D1 | C1 | Z1 | 76-120-10 | M.S. Work for reinforcement with deformed M.S. bar, fy=400 N/mm², (made from billet) in RCC works, including local handling, cutting, forging, bending, cleaning and fabrication with supply of deformed M.S. bar in different sizes and binding with 22 to 18 gages G.I. wire etc. complete including the cost of all materials as per direction of Engineer in charge. 8mm dia to 30mm dia. | kg | 45806.6293 | 103.13 | 4724037.678 | 4111317
124 | DT1 | U3 | P3 | D1 | C1 | Z1 | 76-170 | M.S. Work in plates, angles, channels, flat bars, Tees etc. including fabricating, machining, cutting, bending, welding, forging, drilling, revetting, embedding anchor bars, staging and fitting, fixing, local handling etc. comlpete with energy consumption and supply of labours including the cost of materials as per design, specification and direction of Engineer in charge. | kg | 10.9055 | 163.18 | 1779.5595 | 4111317
125 | DT1 | U3 | P3 | D1 | C1 | Z1 | 28-200-10 | Reinforced cement concrete work in leanest mix. 1:1.5:3, with 20mm down graded coarse aggregates and sand of FM>2.0 to FM<=2.5, to attain a minimum 28 day cylinder strength of 22.0 N/mm², including breaking, screening, grading, ashing aggregates with clean water, mixing, laying in forms, consolidation to levels, curing, including supply of all materials, excluding cost of M.S. work for reinforcements and formworks etc. complete and as per direction of Engineer in charge. with stone chips | cum | 517.5536 | 15521.62 | 8033270.1071 | 4111317
126 | DT1 | U3 | P3 | D1 | C1 | Z1 | 36-150-60 | Formwork for centering and water tight shuttering as per drawing with 14 BWG M.S. sheet, fitted and fixed with 40mmx40mmx6mm M.S. angle frame and 25mmx6mm F.I. bar stiffener, with necessary fabrication, welding, making the forms including fitting, fixing of steel forms with necessary ties, battens, struts, nuts & bolts, props etc. as per desired shape and size including levelling and removing the forms after specified period including the cost of all materials as per direction of Engineer in charge. Footing, footing beams, grade beams, foundation slab with 60-80mm dia barrack bamboo props. | sqm | 1098.3744 | 959.85 | 1054274.6495 | 4111317
127 | DT1 | U3 | P3 | D1 | C1 | Z1 | 36-150-10 | Formwork for centering and water tight shuttering as per drawing with 14 BWG M.S. sheet, fitted and fixed with 40mmx40mmx6mm M.S. angle frame and 25mmx6mm F.I. bar stiffener, with necessary fabrication, welding, making the forms including fitting, fixing of steel forms with necessary ties, battens, struts, nuts & bolts, props etc. as per desired shape and size including levelling and removing the forms after specified period including the cost of all materials as per direction of Engineer in charge. Vertical and inclined walls, columns, piers with 60-80mm dia barrack bamboo props. | sqm | 1665.2315 | 1187.98 | 1978261.7245 | 4111317
128 | DT1 | U3 | P3 | D1 | C1 | Z1 | 44-200 | Construction of pile yard for casting RCC pile with 50mm thick cement concrete (1:3:6) with cement, sand (FM>=1.5) and 20mm down graded picked jhama or 1st class brick chips including breaking, screening, grading and washing chips, mixing, laying and compacting to levels, over a brick flat soling with 1st class bricks including preparation of base, sand filling to make a level base, ramming and sand blinding with sand of FM>=0.8 etc. complete with neat cement finish over the concrete surface including the cost for supply of all materials and as per direction of Engineer in charge. | sqm | 296 | 810.52 | 239913.92 | 4111317
129 | DT1 | U3 | P3 | D1 | C1 | Z1 | 44-110 | Manufacturing, supplying and fitting fixing M.S. Shoe at RCC pile tip with tip area 20mmx20mm, butt area 135mmx135mm and height 200mm, fabricated with 6mm thick 4 nos M.S. plate (20mmx135mmx200mm) at sides and one plate (20mmx20mm) at tip, having 6mm thick continuous fillet weld at all joints and 16mm dia 500mm long anchor bar welded to the tip plate at one end and hooked at the other end etc. complete including cost of all materials and as per direction of Engineer in charge. | each | 32 | 1232.97 | 39455.04 | 4111317
130 | DT1 | U3 | P3 | D1 | C1 | Z1 | 44-100-40 | Driving precast RCC pile upto 15.0 m length including layout, providing center line and Bench Mark pillars, carriage of piles from yard to driving point and driving through hard strata, if any, including the cost of installation, demobilization and carriage of all equipments, auxillary items, labours, materials etc. complete, as per direction of Engineer in charge. Size 350mm x 350mm | m | 384 | 881.76 | 338595.84 | 4111317
131 | DT1 | U3 | P3 | D1 | C1 | Z1 | 44-140 | Labour for breaking of head of cast in situ bored pile/precast pile upto required length by any means and removing the dismantled materials such as concrete to a safe distance including scrapping and removing concrete from steel/M.S. rods, all sorts of handling, stacking the same properly after clearing, levelling and dressing the site and clearing the river bed etc. complete as per direction of Engineer in charge. | cum | 1.7525 | 3735.58 | 6546.5292 | 4111317
132 | DT1 | U3 | P3 | D1 | C1 | Z1 | 40-230-40 | Manufacturing and supplying C.C. blocks in leanest mix. 1:2:4 with cement, sand (FM>=2.0) and Stone Chips (40mm down graded) to attain a 28 days cylinder strength of 18 N/mm² including grading, washing stone chips, mixing, laying in forms, consolidation, curing for at least 21 days, including preparation of platform, shuttering and stacking in measurable stacks etc. complete including supply of all materials (steel shutter to be used) as per direction of Engineer in charge. Block Size: 40cmx40cmx20cm. | each | 780 | 516.62 | 402963.6 | 4111317
133 | DT1 | U3 | P3 | D1 | C1 | Z1 | 40-270-10 | Labour charge for protective works in laying CC blocks of different sizes including preparation of base, watering and ramming of base etc. complete as per direction of Engineer in charge. Within 200 m. | cum | 24.96 | 1452.75 | 36260.64 | 4111317
134 | DT1 | U3 | P3 | D1 | C1 | Z1 | 28-100-20 | Cement concrete work in leanest mix. 1:4:8, with sand of M>=1.5, in foundation or floor, including breaking, screening, grading and washing aggregates with clear water, mixing, laying in position, consolidation to levels, curing, including supply of all materials, excluding the cost of formworks etc. complete as per direction of Engineer in charge. With 25mm down graded stone chips. | cum | 1.6813 | 13441.59 | 22599.8157 | 4111317
135 | DT1 | U3 | P3 | D1 | C1 | Z1 | MR1 | Bay Paving Tiles | sqm | 273.36 | 980 | 267892.8 | 4111317
136 | DT1 | U3 | P3 | D1 | C1 | Z1 | 64-160-10 | Supplying, fitting and fixing glazed tiles of approved size, colour, quality and design in floors/ walls upto required length, breadth and height, set in 20mm thick cement mortar (1:4), including cutting & edging the tiles where necessary filling the joints by white cement and matching colour including the cost of all materials etc. complete as per direction of Engineer in charge. Various size (on walls). | sqm | 61.3256 | 1854.18 | 113708.701 | 4111317
137 | DT1 | U3 | P3 | D1 | C1 | Z1 | 64-160-20 | Supplying, fitting and fixing glazed tiles of approved size, colour, quality and design in floors/ walls upto required length, breadth and height, set in 20mm thick cement mortar (1:4), including cutting & edging the tiles where necessary filling the joints by white cement and matching colour including the cost of all materials etc. complete as per direction of Engineer in charge. Various size (on floors). | sqm | 41.4978 | 1993.75 | 82736.2388 | 4111317
138 | DT1 | U3 | P3 | D1 | C1 | Z1 | 04-530 | Supplying, fitting and fixing 12 BWG galvanised barbed wire fencing (single line) with 2 ply wire, 4 points 100mm apart, fitted with balli posts/ angle posts etc. with necessary nails/ G.I. wire (2 ply 16 BWG) etc. complete as per direction of Engineer in charge (excluding the cost of posts). | m | 5257.9 | 25.54 | 134286.766 | 4111317
139 | DT1 | U3 | P3 | D1 | C1 | Z1 | 40-540-20 | Supplying and laying stone chips as filter in two layers (Top and bottom) as per specific size ranges and gradation including preparation of surface, grading, compacting each layer etc. complete with supply of all materials and as per direction of Engineer in charge. Well graded between 40mm to 20mm size. | cum | 1.16 | 8693.74 | 10084.7384 | 4111317
140 | DT1 | U3 | P3 | D1 | C1 | Z1 | 40-540-30 | Supplying and laying stone chips as filter in two layers (Top and bottom) as per specific size ranges and gradation including preparation of surface, grading, compacting each layer etc. complete with supply of all materials and as per direction of Engineer in charge. Well graded between 20mm to 5mm size. (Combination of sub-items 10 & 30 or 20 & 30 shall be used). | cum | 3.99 | 9057.36 | 36138.8664 | 4111317
141 | DT1 | U3 | P3 | D1 | C1 | Z1 | 40-550-20 | Supplying and laying sand as filter layers as per specific size ranges and gradation including preparation of surface, compacting in layer etc. complete with supply of all materials and as per direction of Engineer in charge. FM : 1.5 to 2.0 | cum | 2.1414 | 2125.05 | 4550.6618 | 4111317
142 | DT1 | U3 | P3 | D1 | C1 | Z1 | 64-500-10 | Supplying, fitting and fixing C.I. sheet roofing, with G.I.nuts, limped, washers, screws, bolts etc. and fitting, fixing with 76mm hooks with at least 2 pitch lapping etc. complete, including the cost of all materials as per direction of Engineer in charge. 0.63mm or 24 BWG C.I. sheet. | sqm | 13.9925 | 759.47 | 10626.884 | 4111317
143 | DT1 | U3 | P3 | D1 | C1 | Z1 | 80-270-30 | Supplying, fitting and fixing CI/PVC pipe, with necessary bends, tees, elbows, clamps etc. and other necessary fittings for all types of works as per direction of Engineer in charge. 100mm dia PVC pipe. | m | 1.2 | 381.38 | 457.656 | 4111317
144 | DT1 | U3 | P3 | D1 | C1 | Z1 | MR2 | Supplying, fitting and fixing 25mm dia PVC pipe. | m | 2.2 | 120 | 264 | 4111317
145 | DT1 | U3 | P3 | D1 | C1 | Z1 | MR3 | Supplying, fitting and fixing Stop Valve. | each | 6 | 1800 | 10800 | 4111317
146 | DT1 | U3 | P3 | D1 | C1 | Z1 | 80-100-10 | Supplying and sinking 40mm dia G.I. tubewell pipe including test boring and hiring of all necessary equipments with all necessary fittings as required etc. all complete including the cost of all materials as per direction of Engineer in charge. Depth upto 60m. | m | 14.7 | 386.89 | 5687.283 | 4111317
147 | DT1 | U3 | P3 | D1 | C1 | Z1 | 80-140 | Supplying, fitting and fixing pump No. 6 for 40mm dia tubewell, as per approved quality with all accessories etc. complete including the cost of all materials as per direction of Engineer in charge. | each | 2 | 2868.93 | 5737.86 | 4111317
148 | DT1 | U3 | P3 | D1 | C1 | Z1 | MR4 | Solar water pumping system (Average Flow rate : Minimum 40 liter/min, Centrifugal pump, 12 - 24 Volt DC Motor 1 HP, RPM 3000 Max., Panel power 900 - 1000 W, Charge Controller, Suction and delivery pipe of 38mm diameter, Cable, Mounting Structure & other accessories). | each | 2 | 130000 | 260000 | 4111317
149 | DT1 | U3 | P3 | D1 | C1 | Z1 | MR5 | Plastic water tank to ensure safe storage of potable water (Capacity 1000 liter) | each | 4 | 25000 | 100000 | 4111317
150 | DT1 | U3 | P3 | D1 | C1 | Z1 | MR6 | Suppling, fitting, fixing SS pipe 100mm dia | m | 8 | 2500 | 20000 | 4111317
151 | DT1 | U3 | P3 | D1 | C1 | Z1 | MR7 | Suppling, fitting, fixing SS pipe 75mm dia | m | 12.5 | 1800 | 22500 | 4111317
152 | DT1 | U3 | P3 | D1 | C1 | Z1 | MR8 | Suppling, fitting, fixing SS pipe 25mm dia | m | 25 | 550 | 13750 | 4111317
153 | DT1 | U3 | P3 | D1 | C1 | Z1 | 48-100 | Fine dressing and close turfing of the slopes and the crest of embankment with 75mm thick, good quality durba or charkanta sods of size 200mm x 200mm, with all leads and lifts, including ramming, watering until the turf grows properly, aintaining etc. complete (measurement will be given on well grown grass only) as per direction of Engineer in charge. | sqm | 1857.78 | 33.94 | 63053.0532 | 4111317
154 | DT1 | U3 | P3 | D1 | C1 | Z1 | 48-220 | Plantation of all kinds of timber plants and fruit plants such as Mehegany, Teak, Sal, Chamble, Mango, Jack, Lichi, Kul etc including cutting earth and supplying at site average 1.0m height plant, including putting manure by digging 45cm dia hole, to a depth of average 30cm, supplying and mixing 7.56 kg of manure, tieing the plant with 1.50m split bamboo post and keeping it wet for one month before plantation including guarding the plant for 6 months as per direction of Engineer in Charge. | each | 156 | 346.77 | 54096.12 | 4113102
155 | DT1 | U3 | P3 | D1 | C1 | Z1 | MR9 | Name Plate (Size 1.1 m x 1 m) | each | 1 | 4000 | 4000 | 4111317

## Item_Code_Summary
| Item Code | Description | Unit | Quantity | Amount
0 | 16-100 | Erection of bamboo profile with full bamboo posts and pegs not less than 60mm in diameter and coir strings etc. complete as per direction of Engineer in charge. | each | 87 | 32230.89
1 | 04-700-10 | Erection and maintenance of site office and removal of the same after completion of work as per approved plans & drawings for the use of the Engineer-in-charge & his staff, Task force and field laboratory with adequate foundation, brick walls, acceptable outside & inside wall surface, concrete floor with floor tiles, false ceiling of gypsum board, windows are to be glazed & provided with steel grill & screen/blinds, doors with approved locks, furniture & fittings of approved quality, equipment & plant of approved quality, electricity, running water, sewerage, security fencing, 5 KVA stand-bye generator, IBM compatible PC with monitor, uninterruptible power supply (UPS), LaserJet printer (minimum 25 ppm), first aid-box, safety helmet, level/theodolite/EDM, consumables, stationeries, day & night guards & a tea boy and site office shall be ready for occupation by the Engineer-in-charge within 28 days of commencement of work, etc. complete as per direction of Engineer-in-charge. (This is a time related item; proportionate payment for this item shall be made distributing in each bill on the basis of percentage progress of the whole works under contract). Site office of minimum 38 sqm plinth area. | each | 3 | 1525744.29
2 | 12-310-20 | Bailing out of water with all leads and lifts by manual labour or pump, with all arrangements for protection of ring bund and side slopes of foundation pit against erosion or washout etc. complete (actual volume of work will be measured by sounding method before starting the work) as per direction of Engineer in charge. by pump. | cum | 32475 | 247134.75
3 | 16-490-20 | Earth work by manual labour in all kinds of soil for excavation/ re-excavation of pond/ tank and constructing bank as per design and specification, throwing the spoil earth in layers of 150mm including breaking clods, dressing, profiling etc. complete with all leads and lifts as per direction of Engineer in charge. For slushy or percolating soil. | cum | 13725 | 3584009.25
4 | 16-410 | Earth work by Mechanical Excavator (Long Boom) in all kinds of soil in excavation / re-excavation of channel/canal/khal etc. including disposal of spoil-soil upto 30m away from the point of excavation with rough dressing and levelling etc. complete as per direction of Engineer-in-Charge. | cum | 10458.426 | 1337423.5169
5 | 16-420 | Extra Rate for every additional shift of Dredged/Excavated earth or shifting of earth by Mechanical Excavator (Long Boom) of 30m or part thereof beyond the initial shift of 30m upto a maximum of 9 shift for all kind of earthwork shift. (Unit: per shift per cum). No. of shift = ... Nos. | pspc | 10458.426 | 419801.2196
6 | 16-430-10 | Extra Rate for Carriage of Dredged earth/Excavated earth or shifting of earth by dump truck including loading, unloading complete as per direction of Engineer in charge. Carriage by Dump Truck: Up to 1.0 km | cum | 0 | 0
7 | 16-150-10 | Compaction of earth in constructing/resectioning of embankment/ canal bank/road/river slopes etc. by mechanical equipment to attain 85% / 90% maximum dry density at optimum moisture content with reference to laboratory density test AASTHO-180 modified hammer in all kinds of soils as per direction of Engineer in charge. 0.0m to 6.0m height and above, with 85% compaction. | cum | 9023.376 | 282341.435
8 | 16-310-20 | Providing clay blanket/clay core by carried earth supplied at contractor's own cost (including royalty) in different thickness over embankment crest and side slopes/embankment core/bed and slope of irrigation canal/crest and side slopes of irrigation canal dykes etc. with selected clay (clay content minimum 80% and silt content maximum 20%) including throwing clay in layers not exceeding 150mm in thickness, clod breaking, benching the side slopes, and compacting to 85% maximum dry density at optimum moisture content with suitable equipment, dressing etc. complete (clay blanket should be extended upto 0.5m below the berm on the outside of embankment/ irrigation canal dyke etc.) as per design, specification and direction of Engineer in charge. Carried by truck/boat or any means: 300m to 1.0km. | cum | 493.801 | 274420.0449
9 | 16-310-30 | Providing clay blanket/clay core by carried earth supplied at contractor's own cost (including royalty) in different thickness over embankment crest and side slopes/embankment core/bed and slope of irrigation canal/crest and side slopes of irrigation canal dykes etc. with selected clay (clay content minimum 80% and silt content maximum 20%) including throwing clay in layers not exceeding 150mm in thickness, clod breaking, benching the side slopes, and compacting to 85% maximum dry density at optimum moisture content with suitable equipment, dressing etc. complete (clay blanket should be extended upto 0.5m below the berm on the outside of embankment/ irrigation canal dyke etc.) as per design, specification and direction of Engineer in charge. Carried by truck/boat or any means: 1.0km to 5.0km. (Extra rate) | cum | 493.801 | 24240.6924
10 | 16-500 | Earth work in excavation of foundation trenches in all kinds of soils including levelling, dressing, placing, removal of spoils to a safe distance with initial lead of 30m and lift of 1.5m as per direction of Engineer in charge. | cum | 2883.5372 | 714396.3463
11 | 16-620-30 | Shoring for slope protection of foundation trench, canal, embankment, road, pond etc. as per design slopes, grades including removal of spoils to a safe distance as per direction of Engineer in charge. By local hard wood ballah post of 6.0m length, 125mm dia, 1.0m c/c, and 2.0m drive with 6.0m long bamboo of avarage 75mm dia, @ 1.0m c/c and 2.0m drive with drum sheet walling and average 70mm dia half split bamboo batten @ 2.0m c/c fixed with nails. | sqm | 72.3 | 74009.895
12 | 16-540-20 | Supplying and filling sand in foundation of hydraulic structures, buildings and in protective works with selected sand, in 150mm thick layer, including levelling, dressing, ramming, watering etc. complete (compacted to 50% relative density by manual labour using mallet/ vibro compactor) as per direction of Engineer in charge. Sand of FM>=1.50 | cum | 737.0199 | 1260458.8032
13 | 20-100-10 | Single brick flat soling including preparation of bed, sand filling (FM>=0.50), levelling, dressing and sand blinding in foundation or floor with supply of all materials etc. complete and as per direction of Engineer in charge. With 1st class bricks | sqm | 16.2 | 7574.148
14 | 20-200-10 | Brick work with 1st. class bricks in cement mortar (sand of FM>=1.50) in foundation and plinth, including soaking bricks in clean water for 6 hours, cleaning the bricks, raking out joints, staging, sorting, curing at least for 7 days, including supply of all materials etc. complete and as per direction of Engineer in charge. proportion: 1:4 | cum | 121.5502 | 938303.1031
15 | 20-220-10 | Extra rate for brick work in superstructure in different stories, over the rates of brick work in foundation and plinth: Ground floor superstructure | cum | 89.9209 | 19242.1713
16 | 24-100-10 | Minimum 20mm thick sand cement plaster, (sand of FM>=1.3) in ground floor, including scaffolding, raking out joints, making sharp edges and corners, cleaning the surface, curing for at least seven days etc. complete including the cost of all materials and as per direction of Engineer in charge. proportion 1:4 | sqm | 364.695 | 151166.0775
17 | 24-180 | Neat cement finishing on plaster surfaces just after initial setting of plaster in all floors including curing at least for seven days with supply of all materials etc complete as per direction of Engineer in charge. | sqm | 364.695 | 40393.6182
18 | 28-120-30 | Cement concrete work in leanest mix. 1:3:6 with sand of FM>=1.5, in foundation or floor including breaking, screening, grading and washing aggregates with clear water, mixing, laying in position, consolidation to levels, curing, including supply of all materials, excluding the cost of formworks etc. complete as per direction of Engineer in charge. With 25mm down graded stone shingles. | cum | 55.3994 | 653282.3193
19 | 76-120-10 | M.S. Work for reinforcement with deformed M.S. bar, fy=400 N/mm², (made from billet) in RCC works, including local handling, cutting, forging, bending, cleaning and fabrication with supply of deformed M.S. bar in different sizes and binding with 22 to 18 gages G.I. wire etc. complete including the cost of all materials as per direction of Engineer in charge. 8mm dia to 30mm dia. | kg | 141598.8919 | 14603093.7227
20 | 76-170 | M.S. Work in plates, angles, channels, flat bars, Tees etc. including fabricating, machining, cutting, bending, welding, forging, drilling, revetting, embedding anchor bars, staging and fitting, fixing, local handling etc. comlpete with energy consumption and supply of labours including the cost of materials as per design, specification and direction of Engineer in charge. | kg | 32.7165 | 5338.6785
21 | 28-200-10 | Reinforced cement concrete work in leanest mix. 1:1.5:3, with 20mm down graded coarse aggregates and sand of FM>2.0 to FM<=2.5, to attain a minimum 28 day cylinder strength of 22.0 N/mm², including breaking, screening, grading, ashing aggregates with clean water, mixing, laying in forms, consolidation to levels, curing, including supply of all materials, excluding cost of M.S. work for reinforcements and formworks etc. complete and as per direction of Engineer in charge. with stone chips | cum | 1614.5093 | 25059800.4154
22 | 36-150-60 | Formwork for centering and water tight shuttering as per drawing with 14 BWG M.S. sheet, fitted and fixed with 40mmx40mmx6mm M.S. angle frame and 25mmx6mm F.I. bar stiffener, with necessary fabrication, welding, making the forms including fitting, fixing of steel forms with necessary ties, battens, struts, nuts & bolts, props etc. as per desired shape and size including levelling and removing the forms after specified period including the cost of all materials as per direction of Engineer in charge. Footing, footing beams, grade beams, foundation slab with 60-80mm dia barrack bamboo props. | sqm | 3522.9756 | 3381528.1443
23 | 36-150-10 | Formwork for centering and water tight shuttering as per drawing with 14 BWG M.S. sheet, fitted and fixed with 40mmx40mmx6mm M.S. angle frame and 25mmx6mm F.I. bar stiffener, with necessary fabrication, welding, making the forms including fitting, fixing of steel forms with necessary ties, battens, struts, nuts & bolts, props etc. as per desired shape and size including levelling and removing the forms after specified period including the cost of all materials as per direction of Engineer in charge. Vertical and inclined walls, columns, piers with 60-80mm dia barrack bamboo props. | sqm | 5380.4474 | 6391863.9569
24 | 44-200 | Construction of pile yard for casting RCC pile with 50mm thick cement concrete (1:3:6) with cement, sand (FM>=1.5) and 20mm down graded picked jhama or 1st class brick chips including breaking, screening, grading and washing chips, mixing, laying and compacting to levels, over a brick flat soling with 1st class bricks including preparation of base, sand filling to make a level base, ramming and sand blinding with sand of FM>=0.8 etc. complete with neat cement finish over the concrete surface including the cost for supply of all materials and as per direction of Engineer in charge. | sqm | 888 | 719741.76
25 | 44-110 | Manufacturing, supplying and fitting fixing M.S. Shoe at RCC pile tip with tip area 20mmx20mm, butt area 135mmx135mm and height 200mm, fabricated with 6mm thick 4 nos M.S. plate (20mmx135mmx200mm) at sides and one plate (20mmx20mm) at tip, having 6mm thick continuous fillet weld at all joints and 16mm dia 500mm long anchor bar welded to the tip plate at one end and hooked at the other end etc. complete including cost of all materials and as per direction of Engineer in charge. | each | 96 | 118365.12
26 | 44-100-40 | Driving precast RCC pile upto 15.0 m length including layout, providing center line and Bench Mark pillars, carriage of piles from yard to driving point and driving through hard strata, if any, including the cost of installation, demobilization and carriage of all equipments, auxillary items, labours, materials etc. complete, as per direction of Engineer in charge. Size 350mm x 350mm | m | 1152 | 1015787.52
27 | 44-140 | Labour for breaking of head of cast in situ bored pile/precast pile upto required length by any means and removing the dismantled materials such as concrete to a safe distance including scrapping and removing concrete from steel/M.S. rods, all sorts of handling, stacking the same properly after clearing, levelling and dressing the site and clearing the river bed etc. complete as per direction of Engineer in charge. | cum | 5.2574 | 19639.5877
28 | 40-230-40 | Manufacturing and supplying C.C. blocks in leanest mix. 1:2:4 with cement, sand (FM>=2.0) and Stone Chips (40mm down graded) to attain a 28 days cylinder strength of 18 N/mm² including grading, washing stone chips, mixing, laying in forms, consolidation, curing for at least 21 days, including preparation of platform, shuttering and stacking in measurable stacks etc. complete including supply of all materials (steel shutter to be used) as per direction of Engineer in charge. Block Size: 40cmx40cmx20cm. | each | 2584 | 1334946.08
29 | 40-270-10 | Labour charge for protective works in laying CC blocks of different sizes including preparation of base, watering and ramming of base etc. complete as per direction of Engineer in charge. Within 200 m. | cum | 82.688 | 120124.992
30 | 28-100-20 | Cement concrete work in leanest mix. 1:4:8, with sand of M>=1.5, in foundation or floor, including breaking, screening, grading and washing aggregates with clear water, mixing, laying in position, consolidation to levels, curing, including supply of all materials, excluding the cost of formworks etc. complete as per direction of Engineer in charge. With 25mm down graded stone chips. | cum | 5.6785 | 76328.136
31 | MR1 | Bay Paving Tiles | sqm | 937.72 | 918965.6
32 | 64-160-10 | Supplying, fitting and fixing glazed tiles of approved size, colour, quality and design in floors/ walls upto required length, breadth and height, set in 20mm thick cement mortar (1:4), including cutting & edging the tiles where necessary filling the joints by white cement and matching colour including the cost of all materials etc. complete as per direction of Engineer in charge. Various size (on walls). | sqm | 203.8832 | 378036.1518
33 | 64-160-20 | Supplying, fitting and fixing glazed tiles of approved size, colour, quality and design in floors/ walls upto required length, breadth and height, set in 20mm thick cement mortar (1:4), including cutting & edging the tiles where necessary filling the joints by white cement and matching colour including the cost of all materials etc. complete as per direction of Engineer in charge. Various size (on floors). | sqm | 138.2934 | 275722.4662
34 | 04-530 | Supplying, fitting and fixing 12 BWG galvanised barbed wire fencing (single line) with 2 ply wire, 4 points 100mm apart, fitted with balli posts/ angle posts etc. with necessary nails/ G.I. wire (2 ply 16 BWG) etc. complete as per direction of Engineer in charge (excluding the cost of posts). | m | 16601.7 | 424007.418
35 | 40-540-20 | Supplying and laying stone chips as filter in two layers (Top and bottom) as per specific size ranges and gradation including preparation of surface, grading, compacting each layer etc. complete with supply of all materials and as per direction of Engineer in charge. Well graded between 40mm to 20mm size. | cum | 3.48 | 30254.2152
36 | 40-540-30 | Supplying and laying stone chips as filter in two layers (Top and bottom) as per specific size ranges and gradation including preparation of surface, grading, compacting each layer etc. complete with supply of all materials and as per direction of Engineer in charge. Well graded between 20mm to 5mm size. (Combination of sub-items 10 & 30 or 20 & 30 shall be used). | cum | 11.97 | 108416.5992
37 | 40-550-20 | Supplying and laying sand as filter layers as per specific size ranges and gradation including preparation of surface, compacting in layer etc. complete with supply of all materials and as per direction of Engineer in charge. FM : 1.5 to 2.0 | cum | 7.0318 | 14942.9532
38 | 64-500-10 | Supplying, fitting and fixing C.I. sheet roofing, with G.I.nuts, limped, washers, screws, bolts etc. and fitting, fixing with 76mm hooks with at least 2 pitch lapping etc. complete, including the cost of all materials as per direction of Engineer in charge. 0.63mm or 24 BWG C.I. sheet. | sqm | 41.9775 | 31880.6519
39 | 80-270-30 | Supplying, fitting and fixing CI/PVC pipe, with necessary bends, tees, elbows, clamps etc. and other necessary fittings for all types of works as per direction of Engineer in charge. 100mm dia PVC pipe. | m | 3.6 | 1372.968
40 | MR2 | Supplying, fitting and fixing 25mm dia PVC pipe. | m | 6.6 | 792
41 | MR3 | Supplying, fitting and fixing Stop Valve. | each | 18 | 32400
42 | 80-100-10 | Supplying and sinking 40mm dia G.I. tubewell pipe including test boring and hiring of all necessary equipments with all necessary fittings as required etc. all complete including the cost of all materials as per direction of Engineer in charge. Depth upto 60m. | m | 44.1 | 17061.849
43 | 80-140 | Supplying, fitting and fixing pump No. 6 for 40mm dia tubewell, as per approved quality with all accessories etc. complete including the cost of all materials as per direction of Engineer in charge. | each | 6 | 17213.58
44 | MR4 | Solar water pumping system (Average Flow rate : Minimum 40 liter/min, Centrifugal pump, 12 - 24 Volt DC Motor 1 HP, RPM 3000 Max., Panel power 900 - 1000 W, Charge Controller, Suction and delivery pipe of 38mm diameter, Cable, Mounting Structure & other accessories). | each | 6 | 780000
45 | MR5 | Plastic water tank to ensure safe storage of potable water (Capacity 1000 liter) | each | 12 | 300000
46 | MR6 | Suppling, fitting, fixing SS pipe 100mm dia | m | 24 | 60000
47 | MR7 | Suppling, fitting, fixing SS pipe 75mm dia | m | 37.5 | 67500
48 | MR8 | Suppling, fitting, fixing SS pipe 25mm dia | m | 75 | 41250
49 | 48-100 | Fine dressing and close turfing of the slopes and the crest of embankment with 75mm thick, good quality durba or charkanta sods of size 200mm x 200mm, with all leads and lifts, including ramming, watering until the turf grows properly, aintaining etc. complete (measurement will be given on well grown grass only) as per direction of Engineer in charge. | sqm | 5573.34 | 189159.1596
50 | 48-220 | Plantation of all kinds of timber plants and fruit plants such as Mehegany, Teak, Sal, Chamble, Mango, Jack, Lichi, Kul etc including cutting earth and supplying at site average 1.0m height plant, including putting manure by digging 45cm dia hole, to a depth of average 30cm, supplying and mixing 7.56 kg of manure, tieing the plant with 1.50m split bamboo post and keeping it wet for one month before plantation including guarding the plant for 6 months as per direction of Engineer in Charge. | each | 468 | 162288.36
51 | MR9 | Name Plate (Size 1.1 m x 1 m) | each | 3 | 12000

## ecoomic_code_summary
| Code No | Description | Estimated Cost
0 | 4111310 | Excavation | 7727346.0889
1 | 4111317 | Other buildings & structures | 60406360.2074
2 | 4113102 | Tree, crop, and plant resources yielding repeat products | 162288.36

## package_summary
| Package Name | Package Code | Estimated Cost
0 | Package-1 | P1 | 22171390.2951
1 | Package-1 | P2 | 24490807.0125
2 | Package-1 | P3 | 21633797.3487

## District_summary
| District Name | District Code | Estimated Cost
0 | Chittagong | DT1 | 68295994.6563

## Upailla_summary
| Upazilla Name | Upazilla Code | Estimated Cost
0 | Bashkahli | U1 | 22171390.2951
1 | Anwara | U2 | 24490807.0125
2 | Chandonaish | U3 | 21633797.3487

## Division_summary
| Division Name | Division Code | Estimated Cost
0 | Chittagong O&M Division -I | D1 | 68295994.6563

## Circle_summary
| Circle Name | Circle Code | Estimated Cost
0 | Chattagong Circle | C1 | 68295994.6563

## Zone_summary
| Zone Name | Zone Code | Estimated Cost
0 | Chottagong Zone | Z1 | 68295994.6563