## Embankment
Sl No | Item Code | Description | Unit | Rate | Nunnir Haor
1 | 16-100 |  | each | 194.677 | 132
2 | 16-650-10 |  | cum | 113.486 | 16531.17
3 | 16-410-10 |  | cum | 240.498 | 22041.56
4 | 16-120-10 |  | cum | 155.152 | 16531.17
5 | 16-190 |  | pld Cum | 37.647 | 16531.17
6 | 48-100 |  | sqm | 17.928 | 91000
7 | 48-130 |  | m | 3.602 | 39204
12162558.6723
121.6256

## Block Road
Sl No | Item Code | Description | Unit | Rate | Nunnir Haor
8 | 56-100 |  | cum | 116.039 | 2880
9 | 56-110 |  | sqm | 628.166 | 522
10 | Analysis Rate |  | sqm | 9.918 | 3600
11 | Analysis Rate |  | each | 274.219 | 37029
12 | Analysis Rate |  | each | 767.774 | 2452
13 | 24-310-10 |  | sqm | 128.696 | 3480
14 | 40-220-10 |  | cum | 961.224 | 1203.86
15 | 36-150-10 |  | sqm | 684.473 | 0
16 | 76-120-10 |  | kg | 77.737 | 0
17 | 76-115-10 |  | kg | 68.774 | 0
18 | 28-200-10 |  | kg | 10149.174 | 0
19 | 04-110 |  | each | 37.946 | 0
14339478.1756
143.3948

## Regulator
Sl No | Item Code | Description | Unit | Rate | Northern & Southern
[6 empty] | Northen | Southern
1 | 04-120 | BM pilar | each | 988.118 |  | 4 | 4 | 04-120 | 988.118
2 | 12-100 | Pizeometer | each | 1876.386 |  | 4 | 4 | 12-100 | 1876.386
3 | 12-310-20 | Bailing out | cum | 5.586 |  | 21842.73 | 21842.73 | 12-310-20 | 5.586
| 16-150 |  | cum | 145.598 |  | 1968.463 | 1968.463 | 16-150 | 145.598
4 | 16-200 | Extra rate for additoinal lift | cum | 18.932 |  | 984.231 | 984.231 | 16-200 | 18.932
5 | 16-220 | Ring bundh Constructiuon | cum | 122.413 |  | 2427.537 | 2427.537 | 16-220 | 122.413
6 | 44-240-30 | Sheet pile Supply | M ton | 120112.575 |  | 8.496 | 8.496 | 44-240-30 | 120112.575
7 | 44-320-10 | Cutting of sheet Pile | m | 29.299 |  | 19.5 | 19.5 | 44-320-10 | 29.299
8 | 72-180 | Painting of steel sheet pile | Sqm | 216.615 |  | 115.05 | 115.05 | 72-180 | 216.615
9 | 44-270-20 | Sheet pile Drive | Sqm | 973.578 |  | 117 | 117 | 44-270-20 | 973.578
10 | 44-310 | Supplying and placing of hesian cloth | Sqm | 337.092 |  | 23.4 | 23.4 | 44-310 | 337.092
11 | 44-220-10 | Supplying and laying of polythene | Sqm | 15.059 |  | 132.931 | 132.931 | 44-220-10 | 15.059
12 | 28-120 | CC 1:3:6 | cum | 9408.659 |  | 22.037 | 22.037 | 28-120-20 | 9408.659
13 | 28-100-20 | CC 1:4:8 | cum | 9106.883 |  | 0.756 | 0.756 | 28-100-20 | 9106.883
14 | 76-110-10 |  | kg | 78.335 |  | 11157.639 | 11157.639 | 76-110-10 | 78.335
15 | 76-115-10 | Reinforcement: 6 mm | kg | 68.774 |  | 20.559 | 20.559 | 76-115-10 | 68.774
16 | 36-150-60 | Shuttering : Footing beams,beams, grade beams | Sqm | 565.761 |  | 128.096 | 128.096 | 36-150-60 | 565.761
17 | 36-150-10 | Shuttering : Vertical and inclined walls | Sqm | 684.473 |  | 269.878 | 269.878 | 36-150-10 | 684.473
18 | 36-150-30 | Shuttering : Deck slab operating deck slab | Sqm | 18343.661 |  | 65.205 | 65.205 | 36-150-30 | 18343.661
19 | 16-520-20 | Back filling sand:FM>1.50 | cum | 1023.461 |  | 18.98 | 18.98 | 16-520-20 | 1023.461
20 | 40-610-30 | Khoa filter: 20mm to 5mm | cum | 3449.469 |  | 16.272 | 16.272 | 40-610-30 | 3449.469
21 | 40-610-20 | Khoa filter: 40mm to 20mm | cum | 3169.906 |  | 15.274 | 15.274 | 40-610-20 | 3169.906
22 | 44-220-10 |  | Sqm | 15.059 |  | 129.9 | 129.9 | 44-220-10 | 15.059
23 | 76-630-10 | P.V.C water stops | m | 825.401 |  | 13.6 | 13.6 | 76-630-10 | 825.401
24 | 28-200-10 | RCC 1:1.5:3 | cum | 10149.174 |  | 136.39 | 136.39 | 28-200-10 | 10149.174
25 | 04-600-20 |  | Sqm | 340.797 |  | 7.097 | 7.097 | 04-600-20 | 340.797
26 | 76-170 | M.S Work in plats, angles, channels | kg | 115.083 |  | 536.759 | 536.759 | 76-170 | 115.083
27 | 04-620-20 |  | m | 52.669 |  | 25.6 | 25.6 | 04-620-20 | 52.669
28 | 40-140-50 | CC Block 30x30x30 | each | 266.346 |  | 2151 | 2151 | 40-140-50 | 266.346
29 | 40-140-40 |  | each | 320.602 |  | 1322 | 1322 | 40-140-40 | 320.602
30 | 80-230-20 | G.I water distribution pipe: 20mm dia G.I pipe line | m | 162.678 |  | 6.9 | 6.9 | 80-230-40 | 162.678
31 | 16-130 | Earth Work in Channel excavation | cum | 122.448 |  | 6875 | 6875 | 16-130 | 122.448
32 | 16-190 | Extra rate for additoinal lead | cum | 12.549 |  | 6875 | 6875 | 16-190 | 12.549
33 | 04-280-10 | Cement mortar gauge | m | 62.459 |  | 2.8 | 2.8 | 04-280-10 | 62.459
34 | 16-240 | Ring bundh remover | cum | 122.448 |  | 3516.5 | 3516.5 | 16-240 | 122.448
35 | 16-520-20 | Back filling sand:FM>.80 | cum | 1023.461 |  | 610.59 | 610.59 | 16-520-20 | 1023.461
36 | 16-540-20 | Back filling sand:FM>.80 | cum | 647.903 |  | 413.998 | 413.998 | 16-540-20 | 647.903
37 | 68-130 | Fall boards | cum | 3.602 |  | 0.126 | 0.126 | 68-130 | 3.602
38 | 76-240-40 | Sulpply of lift gate: 1.95mx1.65m | each | 67677.429 |  | 1 | 1 | 76-240-40 | 67677.429
39 | 76-260-20 | Labour charge for fitting lift gate | each | 7206.755 |  | 1 | 1 | 76-260-20 | 7206.755
40 | 76-190 | Supply and instalation of padestal type lifting device | each | 58527.344 |  | 1 | 1 | 76-190 | 58527.344
41 | 16-140-10 | Earth Work in embankment construction | cum | 161.184 |  | 2289 | 2289 | 16-140-10 | 161.184
42 | NSI | Name plate | L.S | 5000.001 |  | 1 | 1 | NSI | 5000.001
43 | NSI | Name plate | L.S | 3000.001 |  | 1 | 1 | NSI | 3000.001
[6 empty] | 9795786.8087 | 9795786.8087
[6 empty] | 97.9579 | 97.9579
-97.305

## Regulator Samarbari
Sl No | Item Code | Description | Unit | Rate | Samarbari Khal
1 | 04-120 | BM pilar | each | 988.118 | 4 | 3952.472 | 4 | 04-120 | 988.118
2 | 04-180 | Site preparation | Sqm | 23.285 | 9000 | 209565 | 9000 | 04-180 | 23.285
3 | Approved Rate |  | L.S | 1099251.461 | 1 | 1099251.461 | 1 | Approved Analysis rate | 1099251.461
4 | 04-620-20 | Filing Expansion joint | m | 52.669 | 37.624 | 1981.6185 | 37.624 | 04-620-20 | 52.669
5 | 12-100 | Pizeometer | each | 1876.386 | 6 | 11258.316 | 6 | 12-100 | 1876.386
6 | 16-310 | Foundation Excavation | cum | 122.448 | 6289.395 | 770123.839 | 6289.395 | 16-310 | 122.448
7 | 16-560 | Shoring for slope protection | Sqm | 531.184 | 243 | 129077.712 | 243 | 16-560-20 | 531.184
8 | 12-310-20 | Bailing out | cum | 5.586 | 64087.2 | 357991.0992 | 64087.2 | 12-310-20 | 5.586
9 | 44-240-10 | Sheet pile Supply | M ton | 120112.575 | 30.144 | 3620673.4608 | 30.144 | 44-240-30 | 120112.575
10 | 44-320-10 | Cutting of sheet Pile | m | 29.569 | 68.25 | 2018.0842 | 68.25 | 44-320-10 | 29.569
11 | 72-180 | Painting of steel sheet pile | Sqm | 972.106 | 408.2 | 396813.6692 | 251.2 | 44-270-20 | 972.106
12 | 44-270-20 | Sheet pile Drive | Sqm | 216.615 | 251.2 | 54413.688 | 408.2 | 72-180 | 216.615
13 | 44-310 | Supplying and placing of hesian cloth | Sqm | 337.092 | 91.845 | 30960.2147 | 91.845 | 44-310 | 337.092
14 | 44-220-10 | Supplying and laying of polythene | Sqm | 15.059 | 424.209 | 6388.1633 | 424.209 | 44-220-10 | 15.059
15 | 28-120 | CC 1:3:6 | cum | 9408.659 | 63.861 | 600846.3724 | 63.861 | 28-120-20 | 9408.659
16 | 28-100-20 | CC 1:4:8 | cum | 9106.883 | 1.946 | 17721.9943 | 1.946 | 28-100-20 | 9106.883
17 | 28-200-10 | RCC 1:1.5:3 | cum | 10149.174 | 497.035 | 5044494.6991 | 497.035 | 28-200-10 | 10149.174
18 | 76-120-10 | Reinforcement: 8 mm to 22mm | kg | 77.737 | 41665.676 | 3238964.6552 | 41665.676 | 76-120-10 | 77.737
19 | 76-115-10 | Reinforcement: 6 mm | kg | 68.774 | 54.45 | 3744.7443 | 54.45 | 76-115-10 | 68.774
20 | 36-150-60 | Shuttering : Footing beams,beams, grade beams | Sqm | 565.761 | 304 | 171991.344 | 304 | 36-150-60 | 565.761
21 | 36-150-10 | Shuttering : Vertical and inclined walls | Sqm | 684.473 | 793.165 | 542900.027 | 793.165 | 36-150-10 | 684.473
22 | 36-150-20 | Shuttering : Deck slab operating deck slab | Sqm | 691.672 | 126.55 | 87531.0916 | 126.55 | 36-150-20 | 691.672
23 | 76-630-10 | P.V.C water stops | m | 825.401 | 29.3 | 24184.2493 | 29.3 | 76-630-10 | 825.401
24 | 76-430 |  | m | 133.871 | 9.13 | 1222.2422 | 9.13 | 56-430 | 133.871
25 | 16-520-20 | Back filling sand:FM>.80 | cum | 1023.461 | 341.454 | 349464.8523 | 341.454 | 16-520-20 | 1023.461
26 | 40-610-20 | Khoa filter: 40mm to 20mm | cum | 3169.906 | 59.518 | 188666.4653 | 59.518 | 40-610-20 | 3169.906
27 | 40-610-30 | Khoa filter: 20mm to 5mm | cum | 3449.469 | 59.518 | 205305.4959 | 59.518 | 40-610-30 | 3449.469
28 | 40-140-50 | CC Block 30x30x30 | each | 266.346 | 13316 | 3546663.336 | 13316 | 40-140-50 | 266.346
29 | 44-220-10 |  | Sqm | 961.224 | 359.532 | 345590.7872 | 359.532 | 40-220-10 | 961.224
30 | 76-170 | M.S Work in plats, angles, channels | kg | 115.083 | 3727.464 | 428967.7395 | 3727.464 | 76-170 | 115.083
31 | 80-230-20 | G.I water distribution pipe: 20mm dia G.I pipe line | m | 162.678 | 4.5 | 732.051 | 4.5 | 80-230-40 | 162.678
32 | 76-240-40 | Sulpply of lift gate: 1.95mx1.65m | each | 67677.429 | 8 | 541419.432 | 8 | 76-240-40 | 67677.429
33 | 76-260-20 | Labour charge for fitting lift gate | each | 7206.755 | 8 | 57654.04 | 8 | 76-260-20 | 7206.755
34 | 76-190 | Supply and instalation of padestal type lifting device | each | 58527.344 | 8 | 468218.752 | 8 | 76-190 | 58527.344
35 | 16-140-10 | Earth Work in embankment construction | cum | 161.184 | 2012.5 | 324382.8 | 2012.5 | 16-140-10 | 161.184
36 | 16-130 | Earth Work in Channel excavation | cum | 122.448 | 3064.14 | 375197.8147 | 3064.14 | 16-130 | 122.448
37 | 16-200 | Extra rate for additoinal lift | cum | 9.466 | 1532.07 | 14502.5746 | 1532.07 | 16-200 | 9.466
38 | 16-220 | Ring bundh Constructiuon | cum | 122.413 | 390.371 | 47786.4852 | 390.371 | 16-220 | 122.413
39 | 04-280-10 | Cement mortar gauge | m | 62.459 | 5.6 | 349.7704 | 5.6 | 04-280-10 | 62.459
40 | 16-270-30 |  | cum | 141.595 | 1159.122 | 164125.8796 | 1159.122 | 16-270-30 | 141.595
41 | 16-540-20 | Back filling sand:FM>.80 | cum | 647.643 | 2153.269 | 1394549.595 | 2153.269 | 16-540-20 | 647.643
42 | 16-530 | Back file by earth | cum | 134.555 | 927.944 | 124859.5049 | 927.944 | 16-530 | 134.555
43 | 68-130 | Fall boards | cum | 31552.314 | 8.16 | 257466.8822 | 8.16 | 68-130 | 31552.314
44 | 48-100 | Fine dreasing and close turfing | Sqm | 17.928 | 1300 | 23306.4 | 1300 | 48-100 | 17.928
45 | 80-260-20 | G.I water distribution pipe: 50mm dia G.I pipe line | m | 523.111 | 17.6 | 9206.7536 | 17.6 | 80-260-20 | 523.111
46 | NSI | Name plate | L.S | 100000.001 | 1 | 100000.001 | 1 | NSI | 100000.001
47 | Approved Rate |  | L.S | 93401.227 | 1 | 93401.227 | 1 | Analysis Rate | 93401.227
48 | Approved Rate |  | Day | 99890.637 | 60 | 5993438.22 | 1 | Analysis Rate | 99890.637
49 | Approved Rate |  | L.S | 107563.793 | 1 | 107563.793 | 1 | Analysis Rate | 107563.793
50 | Approved Rate |  | L.S | 108710.844 | 1 | 108710.844 | 1 | Analysis Rate | 108710.844
51 | Approved Rate |  | L.S | 86051.035 | 1 | 86051.035 | 1 | Analysis Rate | 86051.035
31785652.7489

## 2reg
20 (2 Nos Regulator) | 04-120 | 04-120 | Construction of B.M. Pillars at site with first class bricks in cement mortar (1:4) of size 38cm x 38cm x 75cm on cement concrete (1:2:4) base of size 50cm x 50cm x 7.5cm with 12mm thick cement plastering (1:2) on exposed surfaces of pillar and cement mortar on top (1:2), with inscription of "BWDB" with 25cm of the pillar below ground level etc. complete including ramming the backfill and the cost of all materials as per direction of Engineer in charge. | Each | 8 | 988.118 | Nine Hundred and Eighty-Eight point One One Eight | 7904.944 | Seven Thousand Nine Hundred and Four point Nine Four Four
21 | 12-100 | 12-100 | Installation of Pizeometer including supply of 40mm G.I. Pipe, Brass Strainer, Socket, Labour by wash boring, Lowering, fixing the elevation and providing cover on the top of the well etc. complete as per direction of Engineer in charge. | Each | 8 | 1876.386 | One Thousand Eight Hundred and Seventy-Six point Three Eight Six | 15011.088 | Fifteen Thousand AND Eleven point Zero Eight Eight
22 | 12-310 | 12-310-20 | Bailing out of water with all leads and lifts by manual labour or pump, with all arrengements for protection of ring bund and side slopes of foundation pit against erosion or washout etc. complete actual volume of work will be measured by sounding method before starting the work) as per direction of Engineer in charge. 12-310-20: by pump. | cum | 43685.46 | 5.586 | Five point Five Eight Six | 244026.98 | Two Lakh Forty-Four Thousand AND Twenty-Six point Nine Eight
23 | 16-150 | 16-150 | Earth work in excavation of foundation trenches in all kinds of soils including levelling, dressing, placing, removal of spoils to a safe distance with initial lead of 30m and lift of 1.5m as per direction of Engineer in charge. | Cum | 3936.926 | 145.598 | One Hundred and Forty-Five point Five Nine Eight | 573208.552 | Five Lakh Seventy-Three Thousand Two Hundred and Eight point Five Five Two
24 | 16-200 | 16-200 | Extra rate for every additional lift of 1.0m or part thereof beyond the initial lift of 1.5m (30cm negleted) for all kinds of earth work. 2 nos lift=2x10.99=21.98 | Pld Cum | 1968.462 | 18.932 | Eighteen point Nine Three Two | 37266.923 | Thirty-Seven Thousand Two Hundred and Sixty-Six point Nine Two Three
25 | 16-220 | 16-220 | Earth work by manual labour with clayey soil (minimum 30% clay, 0-40% silt and 0-30% sand) in construction of cross bundh/ ring bundh as per design and specification with all leads and lifts, throwing the earth in layers not exceeding 150mm in thickness, including breaking clods, rough dressing, clearing the jungle, removing stumps, dug bailing and 75mm cambering etc. complete as per direction of Engineer in charge. | cum | 4855.074 | 122.413 | One Hundred and Twenty-Two point Four One Three | 594324.174 | Five Lakh Ninety-Four Thousand Three Hundred and Twenty-Four point One Seven Four
26 | 44-240 | 44-240-30 | Supplying at site U-shape hot rolled steel sheet pile of different section of Phosphorus=0.04%(Maximum), Sulphur = 0.04% (Maximum), Copper= 0.25% (Minimum), Tensile strength=> 490 N/mm2 , Yield strength =>296 N/mm2, Elongation =15% (Minimum) including all taxes, freights, incidental charges etc. complete as per direction of the Engineer -in- charge. 44-240-30, U- Shape, hot rolled steel sheet pile: width=400 to 600 mm: height=>100mm, Th.=>10.5 mm, wt per sqm. of pile wall=> 120 kg/m2, Section modulus per one meter of pile width => 874 cm3/m | Mton | 16.992 | 120112.575 | One Lakh Twenty Thousand One Hundred and Twelve point Five Seven Five | 2040952.874 | Twenty Lakh Forty Thousand Nine Hundred and Fifty-Two point Eight Seven Four
27 | 44-320 | 44-320-10 | Cutting of steel sheet piles to design and length and shape as per requirement in design and drawing and as per direction of Engineer in charge. 44-320-10: Upto 10mm thick. | m | 39 | 29.299 | Twenty-Nine point Two Nine Nine | 1142.661 | One Thousand One Hundred and Forty-Two point Six Six One
28 | 72-180 | 72-180 | Painting of steel sheet piles, 2 coats of bitumen paint, including preparation of surface with sand paper, iron brush etc. including the cost of all materials and labour etc. complete as per direction of Engineer in charge. | sqm | 230.1 | 216.615 | Two Hundred and Sixteen point Six One Five | 49843.112 | Forty-Nine Thousand Eight Hundred and Forty-Three point One One Two
29 | 44-270 | 44-270-20 | Driving steel sheet piles of various sections and weights of any type of soil, by monkey hammer including handling and placing in position, staging and supplying of all equipments like monkey hammer, pully, rope, bamboo, bullah etc. including correcting leaning beyond tolerance & other defects and any other incidental cost etc. complete (measurement will be taken on projected width x height) as per direction of Engineer in charge. 44-270-20: U-type or any other type : Upto 4.50m depth. | Sqm | 234 | 973.578 | Nine Hundred and Seventy-Three point Five Seven Eight | 227817.252 | Two Lakh Twenty-Seven Thousand Eight Hundred and Seventeen point Two Five Two
30 | 44-310 | 44-310 | Supplying and placing 20mm thick hessian cloth impregnated with bitumen in expansion joints or on top of sheet piles as per specification and direction of Engineer in charge. | Sqm | 46.8 | 337.092 | Three Hundred and Thirty-Seven point Zero Nine Two | 15775.906 | Fifteen Thousand Seven Hundred and Seventy-Five point Nine Zero Six
31 | 44-220 | 44-220-10 | Construction of pile yard for casting RCC pile with 50mm thick cement concrete (1:3:6) with cement, sand (FM>=1.5) and 20mm down graded picked jhama or 1st class brick chips including breaking, screening, grading and washing chips, mixing, laying and compacting to levels, over a brick flat soling with 1st class bricks including preparation of base, sand filling to make a level base, ramming and sand blinding with sand of FM>=0.8 etc. complete with neat cement finish over the concrete surface including the cost for supply of all materials and as per direction of Engineer in charge. 44-220-10: Weighing minimum 1.0 kg per 6.50 sqm. | sqm | 265.862 | 15.059 | Fifteen point Zero Five Nine | 4003.616 | Four Thousand AND Three point Six One Six
32 | 28-120 | 28-120-20 | Cement concrete work in leanest mix. 1:3:6 with sand of FM>=1.5, in foundation or floor including breaking, screening, grading and washing aggregates with clear water, mixing, laying in position, consolidation to levels, curing, including supply of all materials, excluding the cost of formworks etc. complete as per direction of Engineer in charge. 28-120-20: With 25mm down graded stone chips | Cum | 44.074 | 9408.659 | Nine Thousand Four Hundred and Eight point Six Five Nine | 414677.237 | Four Lakh Fourteen Thousand Six Hundred and Seventy-Seven point Two Three Seven
33 | 28-100 | 28-100-20 | Cement concrete work in leanest mix. 1:4:8, with sand of FM>= 1.5, in foundation or floor, including breaking, screening, grading and washing aggregates with clear water, mixing, laying in position, consolidation to levels, curing, including supply of all materials, excluding the cost of formworks etc. complete as per direction of Engineer in charge. 28-100-20: With 25mm down graded stone chips. | Cum | 1.512 | 9106.883 | Nine Thousand One Hundred and Six point Eight Eight Three | 13769.607 | Thirteen Thousand Seven Hundred and Sixty-Nine point Six Zero Seven
34 | 76-110 | 76-110-10 | M.S. Work for reinforcement with deformed M.S. bar, fy=414 N/mm², (made from billet) in RCC works, including local handling, cutting, forging, bending, cleaning and fabrication with supply of deformed M.S. bar in different sizes and binding with 22 to 18 gages G.I. wire etc. complete including the cost of all materials as per direction of Engineer in charge. 76-110-10: 8mm dia to 30mm dia | kg | 22315.278 | 78.335 | Seventy-Eight point Three Three Five | 1748067.302 | Seventeen Lakh Forty-Eight Thousand AND Sixty-Seven point Three Zero Two
35 | 76-115 | 76-115-10 | M.S. Work for reinforcement with deformed M.S. bar, fy = 276 N/mm2, (made from billet) in RCC works, including local handling, cutting, forging, bending, cleaning and fabrication with supply of deformed M.S. bar in different sizes and binding with 22 to 18 gages G.I. wire etc. complete including the cost of all materials as per direction of Engineer in charge. 76-115-10: 6mm dia. | kg | 41.118 | 68.774 | Sixty-Eight point Seven Seven Four | 2827.849 | Two Thousand Eight Hundred and Twenty-Seven point Eight Four Nine
36(a) | 36-150 | 36-150-60 | Formwork for centering and water tight shuttering as per drawing with 14 BWG M.S. sheet, fitted and fixed with 40mmx40mmx6mm M.S. angle frame and 25mmx6mm F.I. bar stiffener, with necessary fabrication, welding, making the forms including fitting, fixing of steel forms with necessary ties, battens, struts, nuts & bolts, props etc. as per desired shape and size including levelling and removing the forms after specified period including the cost of all materials as per direction of Engineer in charge.Footing, footing beams, grade beams, foundation slab with 60-80mm dia | sqm | 256.192 | 565.761 | Five Hundred and Sixty-Five point Seven Six One | 144943.442 | One Lakh Forty-Four Thousand Nine Hundred and Forty-Three point Four Four Two
36(b) | 36-150 | 36-150-10 | Vertical and inclined walls, columns, piers with 60-80mm dia barrack | sqm | 539.756 | 684.473 | Six Hundred and Eighty-Four point Four Seven Three | 369448.409 | Three Lakh Sixty-Nine Thousand Four Hundred and Forty-Eight point Four Zero Nine
36(c) | 36-150 | 36-150-30 | 36-150-30: Deck slab, operating deck slab, top slab of barrel above 3.5m upto 6.5m height with 50mm dia GI pipe props. | sqm | 130.41 | 18343.661 | Eighteen Thousand Three Hundred and Forty-Three point Six Six One | 2392196.831 | Twenty-Three Lakh Ninety-Two Thousand One Hundred and Ninety-Six point Eight Three One
37 | 16-520 | 16-520-20 | Supplying and filling sand in foundation of hydraulic structures, buildings and in protective works with selected sand, in 150mm thick layer, including levelling, dressing, ramming, watering etc. complete (compacted to 50% relative density by manual laqbour using mallet/vibro compactor) as per direction of Engineer in charge. sand of FM>= 1.50 | Cum | 37.96 | 1023.461 | One Thousand AND Twenty-Three point Four Six One | 38850.58 | Thirty-Eight Thousand Eight Hundred and Fifty point Five Eight
38 | 40-610 | 40-610-30 | Supplying and laying dry 1st class or pick jhama chips as filter in two layers (top and bottom) as per specific size, range and gradation, including breaking chips, grading, preparation of surface, compacting each layer etc. complete with supply of all materials and as per direction of Engineer in charge. 40-610-30:Well graded between 20mm to 5mm size. (Combination of sub-item 10 and 30 or 20 and 30 shall be used) | cum | 32.544 | 3449.469 | Three Thousand Four Hundred and Forty-Nine point Four Six Nine | 112259.519 | One Lakh Twelve Thousand Two Hundred and Fifty-Nine point Five One Nine
39 | 40-610 | 40-610-20 | Supplying and laying dry 1st class or pick jhama chips as filter in two layers (top and bottom) as per specific size, range and gradation, including breaking chips, grading, preparation of surface, compacting each layer etc. complete with supply of all materials and as per direction of Engineer in charge. 40-610-20 . Well graded between 40mm to 20mm size. | Cum | 30.548 | 3169.906 | Three Thousand One Hundred and Sixty-Nine point Nine Zero Six | 96834.288 | Ninety-Six Thousand Eight Hundred and Thirty-Four point Two Eight Eight
40 | 44-220 | 44-220-10 | Supplying and laying single layer polythene sheet in floor below cement | sqm | 259.8 | 15.059 | Fifteen point Zero Five Nine | 3912.328 | Three Thousand Nine Hundred and Twelve point Three Two Eight
41 | 76-630 | 76-630-10 | Supply and fitting and fixing 23cm wide P.V.C water stops having minimum strength of 13.80N/mm2 at 225% elongation and of expansion joints with necessary arrangements for modification in shuttering and keeping the water stop in position etc. complete as per design, specification anddirection of Engineer in charge. 76-630-10:3 bulb type.approved quality in antraction and | m | 27.2 | 825.401 | Eight Hundred and Twenty-Five point Four Zero One | 22450.907 | Twenty-Two Thousand Four Hundred and Fifty point Nine Zero Seven
42 | 28-200 | 28-200-10 | Reinforced Cement Concrete Work in leanest mix. 1:1.5:3, with 20mm down graded coarse aggregates and sand of FM>= 2.0 to FM >= 2.5, to attain a minimum 28 day cylinder strength of 22.0 N/mm2, including breaking, screening, grading and washing aggregates with clear water, mixing, laying in forms, consolidation to levels, curing, including supply of all materials, excluding cost of M.S. work for reinforcements and formworks etc. complete and as per direction of Engineer in charge. 28-200-10: With stone chips. | Cum | 272.78 | 10149.174 | Ten Thousand One Hundred and Forty-Nine point One Seven Four | 2768491.684 | Twenty-Seven Lakh Sixty-Eight Thousand Four Hundred and Ninety-One point Six Eight Four
43 | 04-600 | 04-600-20 | Providing cork sheet/polysterene sheet in expansion joints of concrete works including supply of all materials etc. complete as per direction of Engineer in charge. 04-600-20: 20mm thick sheet. | Sqm | 14.194 | 340.797 | Three Hundred and Forty point Seven Nine Seven | 4837.273 | Four Thousand Eight Hundred and Thirty-Seven point Two Seven Three
44 | 76-170 | 76-170 | M.S. Work in plates, angles, channels, flat bars, Tees etc. including fabricating, machining, cutting, bending, welding, forging, drilling, revetting, embedding anchor bars, staging and fitting, fixing, local handling etc. complete with energy consumption and supply of labours including the cost of materials as per design, specification and direction of Engineer in charge. | Kg | 1073.518 | 115.083 | One Hundred and Fifteen point Zero Eight Three | 123543.672 | One Lakh Twenty-Three Thousand Five Hundred and Forty-Three point Six Seven Two
45 | 04-620 | 04-620-20 | Filling of expansion joints upto a depth of 40mm with bitumen mixed with coarse sand (FM>=2.5) in concrete works including supply of all materials etc. complete as per specification and direction of Engineer in charge. 04-620-20: 20mm wide. | m | 51.2 | 52.669 | Fifty-Two point Six Six Nine | 2696.653 | Two Thousand Six Hundred and Ninety-Six point Six Five Three
46 | 40-140 | 40-140-50 | Manufacturing and supplying C.C. blocks in leanest mix. 1:3:6, with | Each | 4302 | 266.346 | Two Hundred and Sixty-Six point Three Four Six | 1145820.492 | Eleven Lakh Forty-Five Thousand Eight Hundred and Twenty point Four Nine Two
47 | 40-140 | 40-140-40 | Manufacturing and supplying C.C. blocks in leanest mix. 1:3:6, with | each | 2644 | 320.602 | Three Hundred and Twenty point Six Zero Two | 847671.688 | Eight Lakh Forty-Seven Thousand Six Hundred and Seventy-One point Six Eight Eight
48 | 80-230 | 80-230-40 | Supplying, laying, fitting and fixing of different dia G.I. pipes with all special fittings, such as bends, elbows, sockets, tees, unions, jamnuts etc. including cutting foundation trenches upto required depth where necessary and filling the same with earth duly compacted, making holes in floors and walls and mending the damages, fixing in walls with holders and clips, including cutting threads, making necessary connection etc. all complete, and as per direction of Engineer in charge: 80-230-40: 40mm dia G.I. pipe line. | m | 13.8 | 162.678 | One Hundred and Sixty-Two point Six Seven Eight | 2244.956 | Two Thousand Two Hundred and Forty-Four point Nine Five Six
49 | 16-130 | 16-130 | Earth work by manual labour in all kinds of soil in excavation or reexcavation of channels with the initial lead of 30m and lift of 1.5m including levelling, dressing and throwing the spoils to profile with breaking clods, rough dressing, clearing jungles including cutting trees upto 200mm girth, dug bailing etc. complete as per direction of Engineer in charge | cum | 13750 | 122.448 | One Hundred and Twenty-Two point Four Four Eight | 1683660 | Sixteen Lakh Eighty-Three Thousand Six Hundred and Sixty
50 | 16-190 | 16-190 | Extra rate for every additional lead of 15m or part thereof beyond the initial lead of 30m upto a maximum of 19 leads (3m neglected) for all kinds of earth work | Pld Cum | 13750 | 12.549 | Twelve point Five Four Nine | 172548.75 | One Lakh Seventy-Two Thousand Five Hundred and Forty-Eight point Seven Five
51 | 04-280 | 04-280-10 | Constructing at site, cement mortar gauge on masonry wall, including engraving in meter, decimeter & centimeter, painting and figuring with | m | 5.6 | 62.459 | Sixty-Two point Four Five Nine | 349.77 | Three Hundred and Forty-Nine point Seven Seven
52 | 16-240 | 16-240 | Earth work by manual labour, in all kinds of soil in removing the cross bundh/ring bundh, including all leads and lifts complete and placing the spoils to a safe distance, (minimum 15m apart from the bank) as per direction of Engineer in charge. | cum | 7033.6 | 122.448 | One Hundred and Twenty-Two point Four Four Eight | 861250.253 | Eight Lakh Sixty-One Thousand Two Hundred and Fifty point Two Five Three
53 | 16-520 | 16-520-20 | Supplying and filling sand in foundation of hydraulic structures, buildings and in protective works with selected sand, in 150mm thick layer, including levelling, dressing, ramming, watering etc. complete (compacted to 50% relative density by manual labour using mallet/ vibro compactor) as per direction of Engineer in charge. 16-520-20: sand of FM>=1.50 | Cum | 1221.18 | 1023.461 | One Thousand AND Twenty-Three point Four Six One | 1249830.104 | Twelve Lakh Forty-Nine Thousand Eight Hundred and Thirty point One Zero Four
54 | 16-540 | 16-540-20 | Back filling in hydraulic structures including all leads and lifts in 150mm layer including watering, ramming compacting to 30% relative density etc. complete by compactor or any other suitable method as per direction of Engineer in charge. 16-540-20: Sand of FM>= 0.80 | Cum | 827.996 | 647.903 | Six Hundred and Forty-Seven point Nine Zero Three | 536461.092 | Five Lakh Thirty-Six Thousand Four Hundred and Sixty-One point Zero Nine Two
55 | 68-130 | 68-130 | Supplying pressure treated wooden fall boards/stop logs of different size (not less than 15cm in depth) of Sal, Sundari, Garjan, Shishu or equivalant for regulator/sluices, including fixing in position with eye hook etc. complete as per direction of Engineer in charge. | Cum | 0.252 | 3.602 | Three point Six Zero Two | 0.908 | Zero point Nine Zero Eight
56 | 76-240 | 76-240-40 | Manufacturing & Supplying of M.S. Vertical Lift Gate shutter of 8mm thick M.S. skin plate and stiffener with minimum 75mmx75mmx10mm M.S. angle as frame, horizontal & vertical beam, 75mmx25mmx12mm P-type rubber seal, fixed with 10mm dia x 63.5mm M.S. counter shank bolts with nuts and 40mmx10mm M.S. strip as clamp drilled spaces @ 150mm c/c, stem attachment with proper thread, nut, cotter pin and washer as per approved design including the cost of all materials of proper grade & brand new with a prime coat of redoxide where necessary as per specification and direction of Engineer in charge. 76-240-10: Size 1.00m x 1.00m. | each | 2 | 67677.429 | Sixty-Seven Thousand Six Hundred and Seventy-Seven point Four Two Nine | 135354.858 | One Lakh Thirty-Five Thousand Three Hundred and Fifty-Four point Eight Five Eight
57 | 76-260 | 76-260-20 | Labour charge for fitting and fixing of M.S. vertical lift gate/ flap gate shutters of different size including making holes in concrete for hooking arrangements with supply of necessary materials, tools and other accessories required for fitting the same to regulator/sluice and mending the damages with CC (1:2:4), removing the spoils etc. complete including the cost of all materials as per direction of Engineer in charge.76-260-20: Size 1.95m x 1.35m or 1.95m x 1.65m | each | 2 | 7206.755 | Seven Thousand Two Hundred and Six point Seven Five Five | 14413.51 | Fourteen Thousand Four Hundred and Thirteen point Five One
58 | 76-190 | 76-190 | Manufacturing, supplying and Installation of Padestal type lifting device for slide gate with 63mm dia threaded steel shaft, 146mm outer dia bronze nut, thrust bearing, steel bevel gear etc. as per approved design including supply of all components, labours with a prime coat of redoxide where necessary etc. complete including the cost of all materials as per specification and direction of Engineer in charge. | Each | 2 | 58527.344 | Fifty-Eight Thousand Five Hundred and Twenty-Seven point Three Four Four | 117054.688 | One Lakh Seventeen Thousand AND Fifty-Four point Six Eight Eight
59 | 16-140 | 16-140-10 | Earth work by manual labour in resectioning of embankment/ canal bank/ river slopes/ road/ compound etc. manually compacted by 7.0 kg iron rammer to avoid any air pocket in clayey soil (minimum 30% clay, 0-40% silt and 0-30% sand) within the initial lead of 30m and all lifts including throwing the spoils to profile in layers not exceeding 150mm thickness with clod breaking to a maximum size of 100mm, removing roots & stumps of trees of girth upto 200mm from the ground, benching the side slopes, stripping/ ploughing the base of embankment and borrowpit areas, dug bailing, bail out of water, rough dressing including 150mm cambering at the centre of the crest (where necessary) etc. complete as per direction of Engineer in charge. 16-140-10: 0 m to 3 m height. | cum | 4578 | 161.184 | One Hundred and Sixty-One point One Eight Four | 737900.352 | Seven Lakh Thirty-Seven Thousand Nine Hundred point Three Five Two
60 | NSI | NSI | Namplate Writing, As per market Rate | L.S | 2 | 5000.001 | Five Thousand point Zero Zero One | 10000.002 | Ten Thousand point Zero Zero Two
61 | NSI | NSI | Red Flage, As per market Rate | L.S | 2 | 3000.001 | Three Thousand point Zero Zero One | 6000.002 | Six Thousand point Zero Zero Tw
19591647.088
9795823.544
97.9582

## Sheet1
20 (2 Nos Regulator) | 04-120 | 04-120 | Construction of B.M. Pillars at site with first class bricks in cement mortar (1:4) of size 38cm x 38cm x 75cm on cement concrete (1:2:4) base of size 50cm x 50cm x 7.5cm with 12mm thick cement plastering (1:2) on exposed surfaces of pillar and cement mortar on top (1:2), with inscription of "BWDB" with 25cm of the pillar below ground level etc. complete including ramming the backfill and the cost of all materials as per direction of Engineer in charge. | Each | 8 | 988.118 | Nine Hundred and Eighty-Eight point One One Eight | 7904.944 | Seven Thousand Nine Hundred and Four point Nine Four Four
21 | 12-100 | 12-100 | Installation of Pizeometer including supply of 40mm G.I. Pipe, Brass Strainer, Socket, Labour by wash boring, Lowering, fixing the elevation and providing cover on the top of the well etc. complete as per direction of Engineer in charge. | Each | 8 | 1876.386 | One Thousand Eight Hundred and Seventy-Six point Three Eight Six | 15011.088 | Fifteen Thousand AND Eleven point Zero Eight Eight
22 | 12-310 | 12-310-20 | Bailing out of water with all leads and lifts by manual labour or pump, with all arrengements for protection of ring bund and side slopes of foundation pit against erosion or washout etc. complete actual volume of work will be measured by sounding method before starting the work) as per direction of Engineer in charge. 12-310-20: by pump. | cum | 43685.46 | 5.586 | Five point Five Eight Six | 244026.98 | Two Lakh Forty-Four Thousand AND Twenty-Six point Nine Eight
23 | 16-150 | 16-150 | Earth work in excavation of foundation trenches in all kinds of soils including levelling, dressing, placing, removal of spoils to a safe distance with initial lead of 30m and lift of 1.5m as per direction of Engineer in charge. | Cum | 3936.926 | 145.598 | One Hundred and Forty-Five point Five Nine Eight | 573208.552 | Five Lakh Seventy-Three Thousand Two Hundred and Eight point Five Five Two
24 | 16-200 | 16-200 | Extra rate for every additional lift of 1.0m or part thereof beyond the initial lift of 1.5m (30cm negleted) for all kinds of earth work. 2 nos lift=2x10.99=21.98 | Pld Cum | 1968.462 | 18.932 | Eighteen point Nine Three Two | 37266.923 | Thirty-Seven Thousand Two Hundred and Sixty-Six point Nine Two Three
25 | 16-220 | 16-220 | Earth work by manual labour with clayey soil (minimum 30% clay, 0-40% silt and 0-30% sand) in construction of cross bundh/ ring bundh as per design and specification with all leads and lifts, throwing the earth in layers not exceeding 150mm in thickness, including breaking clods, rough dressing, clearing the jungle, removing stumps, dug bailing and 75mm cambering etc. complete as per direction of Engineer in charge. | cum | 4855.074 | 122.413 | One Hundred and Twenty-Two point Four One Three | 594324.174 | Five Lakh Ninety-Four Thousand Three Hundred and Twenty-Four point One Seven Four
26 | 44-240 | 44-240-30 | Supplying at site U-shape hot rolled steel sheet pile of different section of Phosphorus=0.04%(Maximum), Sulphur = 0.04% (Maximum), Copper= 0.25% (Minimum), Tensile strength=> 490 N/mm2 , Yield strength =>296 N/mm2, Elongation =15% (Minimum) including all taxes, freights, incidental charges etc. complete as per direction of the Engineer -in- charge. 44-240-30, U- Shape, hot rolled steel sheet pile: width=400 to 600 mm: height=>100mm, Th.=>10.5 mm, wt per sqm. of pile wall=> 120 kg/m2, Section modulus per one meter of pile width => 874 cm3/m | Mton | 16.992 | 120112.575 | One Lakh Twenty Thousand One Hundred and Twelve point Five Seven Five | 2040952.874 | Twenty Lakh Forty Thousand Nine Hundred and Fifty-Two point Eight Seven Four
27 | 44-320 | 44-320-10 | Cutting of steel sheet piles to design and length and shape as per requirement in design and drawing and as per direction of Engineer in charge. 44-320-10: Upto 10mm thick. | m | 39 | 29.299 | Twenty-Nine point Two Nine Nine | 1142.661 | One Thousand One Hundred and Forty-Two point Six Six One
28 | 72-180 | 72-180 | Painting of steel sheet piles, 2 coats of bitumen paint, including preparation of surface with sand paper, iron brush etc. including the cost of all materials and labour etc. complete as per direction of Engineer in charge. | sqm | 230.1 | 216.615 | Two Hundred and Sixteen point Six One Five | 49843.112 | Forty-Nine Thousand Eight Hundred and Forty-Three point One One Two
29 | 44-270 | 44-270-20 | Driving steel sheet piles of various sections and weights of any type of soil, by monkey hammer including handling and placing in position, staging and supplying of all equipments like monkey hammer, pully, rope, bamboo, bullah etc. including correcting leaning beyond tolerance & other defects and any other incidental cost etc. complete (measurement will be taken on projected width x height) as per direction of Engineer in charge. 44-270-20: U-type or any other type : Upto 4.50m depth. | Sqm | 234 | 973.578 | Nine Hundred and Seventy-Three point Five Seven Eight | 227817.252 | Two Lakh Twenty-Seven Thousand Eight Hundred and Seventeen point Two Five Two
30 | 44-310 | 44-310 | Supplying and placing 20mm thick hessian cloth impregnated with bitumen in expansion joints or on top of sheet piles as per specification and direction of Engineer in charge. | Sqm | 46.8 | 337.092 | Three Hundred and Thirty-Seven point Zero Nine Two | 15775.906 | Fifteen Thousand Seven Hundred and Seventy-Five point Nine Zero Six
31 | 44-220 | 44-220-10 | Construction of pile yard for casting RCC pile with 50mm thick cement concrete (1:3:6) with cement, sand (FM>=1.5) and 20mm down graded picked jhama or 1st class brick chips including breaking, screening, grading and washing chips, mixing, laying and compacting to levels, over a brick flat soling with 1st class bricks including preparation of base, sand filling to make a level base, ramming and sand blinding with sand of FM>=0.8 etc. complete with neat cement finish over the concrete surface including the cost for supply of all materials and as per direction of Engineer in charge. 44-220-10: Weighing minimum 1.0 kg per 6.50 sqm. | sqm | 265.862 | 15.059 | Fifteen point Zero Five Nine | 4003.616 | Four Thousand AND Three point Six One Six
32 | 28-120 | 28-120-20 | Cement concrete work in leanest mix. 1:3:6 with sand of FM>=1.5, in foundation or floor including breaking, screening, grading and washing aggregates with clear water, mixing, laying in position, consolidation to levels, curing, including supply of all materials, excluding the cost of formworks etc. complete as per direction of Engineer in charge. 28-120-20: With 25mm down graded stone chips | Cum | 44.074 | 9408.659 | Nine Thousand Four Hundred and Eight point Six Five Nine | 414677.237 | Four Lakh Fourteen Thousand Six Hundred and Seventy-Seven point Two Three Seven
33 | 28-100 | 28-100-20 | Cement concrete work in leanest mix. 1:4:8, with sand of FM>= 1.5, in foundation or floor, including breaking, screening, grading and washing aggregates with clear water, mixing, laying in position, consolidation to levels, curing, including supply of all materials, excluding the cost of formworks etc. complete as per direction of Engineer in charge. 28-100-20: With 25mm down graded stone chips. | Cum | 1.512 | 9106.883 | Nine Thousand One Hundred and Six point Eight Eight Three | 13769.607 | Thirteen Thousand Seven Hundred and Sixty-Nine point Six Zero Seven
34 | 76-110 | 76-110-10 | M.S. Work for reinforcement with deformed M.S. bar, fy=414 N/mm², (made from billet) in RCC works, including local handling, cutting, forging, bending, cleaning and fabrication with supply of deformed M.S. bar in different sizes and binding with 22 to 18 gages G.I. wire etc. complete including the cost of all materials as per direction of Engineer in charge. 76-110-10: 8mm dia to 30mm dia | kg | 22315.278 | 78.335 | Seventy-Eight point Three Three Five | 1748067.302 | Seventeen Lakh Forty-Eight Thousand AND Sixty-Seven point Three Zero Two
35 | 76-115 | 76-115-10 | M.S. Work for reinforcement with deformed M.S. bar, fy = 276 N/mm2, (made from billet) in RCC works, including local handling, cutting, forging, bending, cleaning and fabrication with supply of deformed M.S. bar in different sizes and binding with 22 to 18 gages G.I. wire etc. complete including the cost of all materials as per direction of Engineer in charge. 76-115-10: 6mm dia. | kg | 41.118 | 68.774 | Sixty-Eight point Seven Seven Four | 2827.849 | Two Thousand Eight Hundred and Twenty-Seven point Eight Four Nine
36(a) | 36-150 | 36-150-60 | Formwork for centering and water tight shuttering as per drawing with 14 BWG M.S. sheet, fitted and fixed with 40mmx40mmx6mm M.S. angle frame and 25mmx6mm F.I. bar stiffener, with necessary fabrication, welding, making the forms including fitting, fixing of steel forms with necessary ties, battens, struts, nuts & bolts, props etc. as per desired shape and size including levelling and removing the forms after specified period including the cost of all materials as per direction of Engineer in charge.Footing, footing beams, grade beams, foundation slab with 60-80mm dia | sqm | 256.192 | 565.761 | Five Hundred and Sixty-Five point Seven Six One | 144943.442 | One Lakh Forty-Four Thousand Nine Hundred and Forty-Three point Four Four Two
36(b) | 36-150 | 36-150-10 | Vertical and inclined walls, columns, piers with 60-80mm dia barrack | sqm | 539.756 | 684.473 | Six Hundred and Eighty-Four point Four Seven Three | 369448.409 | Three Lakh Sixty-Nine Thousand Four Hundred and Forty-Eight point Four Zero Nine
36(c) | 36-150 | 36-150-30 | 36-150-30: Deck slab, operating deck slab, top slab of barrel above 3.5m upto 6.5m height with 50mm dia GI pipe props. | sqm | 130.41 | 18343.661 | Eighteen Thousand Three Hundred and Forty-Three point Six Six One | 2392196.831 | Twenty-Three Lakh Ninety-Two Thousand One Hundred and Ninety-Six point Eight Three One
37 | 16-520 | 16-520-20 | Supplying and filling sand in foundation of hydraulic structures, buildings and in protective works with selected sand, in 150mm thick layer, including levelling, dressing, ramming, watering etc. complete (compacted to 50% relative density by manual laqbour using mallet/vibro compactor) as per direction of Engineer in charge. sand of FM>= 1.50 | Cum | 37.96 | 1023.461 | One Thousand AND Twenty-Three point Four Six One | 38850.58 | Thirty-Eight Thousand Eight Hundred and Fifty point Five Eight
38 | 40-610 | 40-610-30 | Supplying and laying dry 1st class or pick jhama chips as filter in two layers (top and bottom) as per specific size, range and gradation, including breaking chips, grading, preparation of surface, compacting each layer etc. complete with supply of all materials and as per direction of Engineer in charge. 40-610-30:Well graded between 20mm to 5mm size. (Combination of sub-item 10 and 30 or 20 and 30 shall be used) | cum | 32.544 | 3449.469 | Three Thousand Four Hundred and Forty-Nine point Four Six Nine | 112259.519 | One Lakh Twelve Thousand Two Hundred and Fifty-Nine point Five One Nine
39 | 40-610 | 40-610-20 | Supplying and laying dry 1st class or pick jhama chips as filter in two layers (top and bottom) as per specific size, range and gradation, including breaking chips, grading, preparation of surface, compacting each layer etc. complete with supply of all materials and as per direction of Engineer in charge. 40-610-20 . Well graded between 40mm to 20mm size. | Cum | 30.548 | 3169.906 | Three Thousand One Hundred and Sixty-Nine point Nine Zero Six | 96834.288 | Ninety-Six Thousand Eight Hundred and Thirty-Four point Two Eight Eight
40 | 44-220 | 44-220-10 | Supplying and laying single layer polythene sheet in floor below cement | sqm | 259.8 | 15.059 | Fifteen point Zero Five Nine | 3912.328 | Three Thousand Nine Hundred and Twelve point Three Two Eight
41 | 76-630 | 76-630-10 | Supply and fitting and fixing 23cm wide P.V.C water stops having minimum strength of 13.80N/mm2 at 225% elongation and of expansion joints with necessary arrangements for modification in shuttering and keeping the water stop in position etc. complete as per design, specification anddirection of Engineer in charge. 76-630-10:3 bulb type.approved quality in antraction and | m | 27.2 | 825.401 | Eight Hundred and Twenty-Five point Four Zero One | 22450.907 | Twenty-Two Thousand Four Hundred and Fifty point Nine Zero Seven
42 | 28-200 | 28-200-10 | Reinforced Cement Concrete Work in leanest mix. 1:1.5:3, with 20mm down graded coarse aggregates and sand of FM>= 2.0 to FM >= 2.5, to attain a minimum 28 day cylinder strength of 22.0 N/mm2, including breaking, screening, grading and washing aggregates with clear water, mixing, laying in forms, consolidation to levels, curing, including supply of all materials, excluding cost of M.S. work for reinforcements and formworks etc. complete and as per direction of Engineer in charge. 28-200-10: With stone chips. | Cum | 272.78 | 10149.174 | Ten Thousand One Hundred and Forty-Nine point One Seven Four | 2768491.684 | Twenty-Seven Lakh Sixty-Eight Thousand Four Hundred and Ninety-One point Six Eight Four
43 | 04-600 | 04-600-20 | Providing cork sheet/polysterene sheet in expansion joints of concrete works including supply of all materials etc. complete as per direction of Engineer in charge. 04-600-20: 20mm thick sheet. | Sqm | 14.194 | 340.797 | Three Hundred and Forty point Seven Nine Seven | 4837.273 | Four Thousand Eight Hundred and Thirty-Seven point Two Seven Three
44 | 76-170 | 76-170 | M.S. Work in plates, angles, channels, flat bars, Tees etc. including fabricating, machining, cutting, bending, welding, forging, drilling, revetting, embedding anchor bars, staging and fitting, fixing, local handling etc. complete with energy consumption and supply of labours including the cost of materials as per design, specification and direction of Engineer in charge. | Kg | 1073.518 | 115.083 | One Hundred and Fifteen point Zero Eight Three | 123543.672 | One Lakh Twenty-Three Thousand Five Hundred and Forty-Three point Six Seven Two
45 | 04-620 | 04-620-20 | Filling of expansion joints upto a depth of 40mm with bitumen mixed with coarse sand (FM>=2.5) in concrete works including supply of all materials etc. complete as per specification and direction of Engineer in charge. 04-620-20: 20mm wide. | m | 51.2 | 52.669 | Fifty-Two point Six Six Nine | 2696.653 | Two Thousand Six Hundred and Ninety-Six point Six Five Three
46 | 40-140 | 40-140-50 | Manufacturing and supplying C.C. blocks in leanest mix. 1:3:6, with | Each | 4302 | 266.346 | Two Hundred and Sixty-Six point Three Four Six | 1145820.492 | Eleven Lakh Forty-Five Thousand Eight Hundred and Twenty point Four Nine Two
47 | 40-140 | 40-140-40 | Manufacturing and supplying C.C. blocks in leanest mix. 1:3:6, with | each | 2644 | 320.602 | Three Hundred and Twenty point Six Zero Two | 847671.688 | Eight Lakh Forty-Seven Thousand Six Hundred and Seventy-One point Six Eight Eight
48 | 80-230 | 80-230-40 | Supplying, laying, fitting and fixing of different dia G.I. pipes with all special fittings, such as bends, elbows, sockets, tees, unions, jamnuts etc. including cutting foundation trenches upto required depth where necessary and filling the same with earth duly compacted, making holes in floors and walls and mending the damages, fixing in walls with holders and clips, including cutting threads, making necessary connection etc. all complete, and as per direction of Engineer in charge: 80-230-40: 40mm dia G.I. pipe line. | m | 13.8 | 162.678 | One Hundred and Sixty-Two point Six Seven Eight | 2244.956 | Two Thousand Two Hundred and Forty-Four point Nine Five Six
49 | 16-130 | 16-130 | Earth work by manual labour in all kinds of soil in excavation or reexcavation of channels with the initial lead of 30m and lift of 1.5m including levelling, dressing and throwing the spoils to profile with breaking clods, rough dressing, clearing jungles including cutting trees upto 200mm girth, dug bailing etc. complete as per direction of Engineer in charge | cum | 13750 | 122.448 | One Hundred and Twenty-Two point Four Four Eight | 1683660 | Sixteen Lakh Eighty-Three Thousand Six Hundred and Sixty
50 | 16-190 | 16-190 | Extra rate for every additional lead of 15m or part thereof beyond the initial lead of 30m upto a maximum of 19 leads (3m neglected) for all kinds of earth work | Pld Cum | 13750 | 12.549 | Twelve point Five Four Nine | 172548.75 | One Lakh Seventy-Two Thousand Five Hundred and Forty-Eight point Seven Five
51 | 04-280 | 04-280-10 | Constructing at site, cement mortar gauge on masonry wall, including engraving in meter, decimeter & centimeter, painting and figuring with | m | 5.6 | 62.459 | Sixty-Two point Four Five Nine | 349.77 | Three Hundred and Forty-Nine point Seven Seven
52 | 16-240 | 16-240 | Earth work by manual labour, in all kinds of soil in removing the cross bundh/ring bundh, including all leads and lifts complete and placing the spoils to a safe distance, (minimum 15m apart from the bank) as per direction of Engineer in charge. | cum | 7033.6 | 122.448 | One Hundred and Twenty-Two point Four Four Eight | 861250.253 | Eight Lakh Sixty-One Thousand Two Hundred and Fifty point Two Five Three
53 | 16-520 | 16-520-20 | Supplying and filling sand in foundation of hydraulic structures, buildings and in protective works with selected sand, in 150mm thick layer, including levelling, dressing, ramming, watering etc. complete (compacted to 50% relative density by manual labour using mallet/ vibro compactor) as per direction of Engineer in charge. 16-520-20: sand of FM>=1.50 | Cum | 1221.18 | 1023.461 | One Thousand AND Twenty-Three point Four Six One | 1249830.104 | Twelve Lakh Forty-Nine Thousand Eight Hundred and Thirty point One Zero Four
54 | 16-540 | 16-540-20 | Back filling in hydraulic structures including all leads and lifts in 150mm layer including watering, ramming compacting to 30% relative density etc. complete by compactor or any other suitable method as per direction of Engineer in charge. 16-540-20: Sand of FM>= 0.80 | Cum | 827.996 | 647.903 | Six Hundred and Forty-Seven point Nine Zero Three | 536461.092 | Five Lakh Thirty-Six Thousand Four Hundred and Sixty-One point Zero Nine Two
55 | 68-130 | 68-130 | Supplying pressure treated wooden fall boards/stop logs of different size (not less than 15cm in depth) of Sal, Sundari, Garjan, Shishu or equivalant for regulator/sluices, including fixing in position with eye hook etc. complete as per direction of Engineer in charge. | Cum | 0.252 | 3.602 | Three point Six Zero Two | 0.908 | Zero point Nine Zero Eight
56 | 76-240 | 76-240-40 | Manufacturing & Supplying of M.S. Vertical Lift Gate shutter of 8mm thick M.S. skin plate and stiffener with minimum 75mmx75mmx10mm M.S. angle as frame, horizontal & vertical beam, 75mmx25mmx12mm P-type rubber seal, fixed with 10mm dia x 63.5mm M.S. counter shank bolts with nuts and 40mmx10mm M.S. strip as clamp drilled spaces @ 150mm c/c, stem attachment with proper thread, nut, cotter pin and washer as per approved design including the cost of all materials of proper grade & brand new with a prime coat of redoxide where necessary as per specification and direction of Engineer in charge. 76-240-10: Size 1.00m x 1.00m. | each | 2 | 67677.429 | Sixty-Seven Thousand Six Hundred and Seventy-Seven point Four Two Nine | 135354.858 | One Lakh Thirty-Five Thousand Three Hundred and Fifty-Four point Eight Five Eight
57 | 76-260 | 76-260-20 | Labour charge for fitting and fixing of M.S. vertical lift gate/ flap gate shutters of different size including making holes in concrete for hooking arrangements with supply of necessary materials, tools and other accessories required for fitting the same to regulator/sluice and mending the damages with CC (1:2:4), removing the spoils etc. complete including the cost of all materials as per direction of Engineer in charge.76-260-20: Size 1.95m x 1.35m or 1.95m x 1.65m | each | 2 | 7206.755 | Seven Thousand Two Hundred and Six point Seven Five Five | 14413.51 | Fourteen Thousand Four Hundred and Thirteen point Five One
58 | 76-190 | 76-190 | Manufacturing, supplying and Installation of Padestal type lifting device for slide gate with 63mm dia threaded steel shaft, 146mm outer dia bronze nut, thrust bearing, steel bevel gear etc. as per approved design including supply of all components, labours with a prime coat of redoxide where necessary etc. complete including the cost of all materials as per specification and direction of Engineer in charge. | Each | 2 | 58527.344 | Fifty-Eight Thousand Five Hundred and Twenty-Seven point Three Four Four | 117054.688 | One Lakh Seventeen Thousand AND Fifty-Four point Six Eight Eight
59 | 16-140 | 16-140-10 | Earth work by manual labour in resectioning of embankment/ canal bank/ river slopes/ road/ compound etc. manually compacted by 7.0 kg iron rammer to avoid any air pocket in clayey soil (minimum 30% clay, 0-40% silt and 0-30% sand) within the initial lead of 30m and all lifts including throwing the spoils to profile in layers not exceeding 150mm thickness with clod breaking to a maximum size of 100mm, removing roots & stumps of trees of girth upto 200mm from the ground, benching the side slopes, stripping/ ploughing the base of embankment and borrowpit areas, dug bailing, bail out of water, rough dressing including 150mm cambering at the centre of the crest (where necessary) etc. complete as per direction of Engineer in charge. 16-140-10: 0 m to 3 m height. | cum | 4578 | 161.184 | One Hundred and Sixty-One point One Eight Four | 737900.352 | Seven Lakh Thirty-Seven Thousand Nine Hundred point Three Five Two
60 | NSI | NSI | Namplate Writing, As per market Rate | L.S | 2 | 5000.001 | Five Thousand point Zero Zero One | 10000.002 | Ten Thousand point Zero Zero Two
61 | NSI | NSI | Red Flage, As per market Rate | L.S | 2 | 3000.001 | Three Thousand point Zero Zero One | 6000.002 | Six Thousand point Zero Zero T

## Sheet3
arbari khal Regulator) | 04-120 | 04-120 | Construction of B.M. Pillars at site with first class bricks in cement mortar (1:4) of size 38cm x 38cm x 75cm on cement concrete (1:2:4) base of size 50cm x 50cm x 7.5cm with 12mm thick cement plastering (1:2) on exposed surfaces of pillar and cement morter on top (1:2), with inscription of "BWDB" with 25cm of the pillar balow ground level etc. complete including ramming the backfill and the cost of all materials as per direction of Engineer in charge. | each | 4 | 988.118 | Nine Hundred and Eighty-Eight point One One Eight | 3952.472 | Three Thousand Nine Hundred and Fifty-Two point Four Seven Two
63 | 04-180 | 04-180 | Site preparation by manually removing all miscellaneous objectional materials form entire site and removing soil upto 15cm depth including uprooting stumps, jungle clearing, levelling dressing etc. complete as per direction of Engineer in charge. | Sqm | 9000 | 23.285 | Twenty-Three point Two Eight Five | 209565 | Two Lakh Nine Thousand Five Hundred and Sixty-Five
64 | Approved Analysis rate | Approved Analysis rate | Preparation and mobilization of the Site for Construction of Submersible Embankment or other Structural Components in c/w "Haor Flood Management and Livelihood Improved Improvement Project(BWDB Part) as per Technical Specifications, including land lease, rental charges, obtaining permissions for work, developing work area, preparation of platform for temporary semi pucca site office(40sqm), CI Sheet labour sheds(200sqm), CI Sheet Stores(200sqm), supply of wooden & cane seated furniture etc. as specified and as per Contractor's Method Statement and as per direction of Engineer in charge. | LS | 1 | 1099251.461 | Ten Lakh Ninety-Nine Thousand Two Hundred and Fifty-One point Four Six One | 1099251.461 | Ten Lakh Ninety-Nine Thousand Two Hundred and Fifty-One point Four Six One
65 | 04-620 | 04-620-20 | Filling of expansion joints upto a depth of 40 mm with bitumen mixed with coarse sand (FM>=2.5) in concrete works including supply of all materials etc. complete as per specification and direction of Engineer in charge. 04-620-20 . 20 mm wide. | m | 37.624 | 52.669 | Fifty-Two point Six Six Nine | 1981.618 | One Thousand Nine Hundred and Eighty-One point Six One Eight
66 | 12-100 | 12-100 | Installation of pizeometer including supply of 40mm G.I. pipe, brass strainer, socket, labour, by wash boring, lowering, fixing the elevation and providing cover on the top of the well etc. complete as per direction of Engineer in charge. | Each | 6 | 1876.386 | One Thousand Eight Hundred and Seventy-Six point Three Eight Six | 11258.316 | Eleven Thousand Two Hundred and Fifty-Eight point Three One Six
67 | 16-310 | 16-310 | Earth work in excavation of foundation trenches in all kinds of soil as per layout plan of foundation excavation with all leads and lifts and placing the spoil earth for constructing the ring bundh/ cofferdam where necessary as per design and specification or disposing it to a safe distance including pushing, levelling, dressing, etc. complete as per direction of Engineer in charge. | cum | 6289.395 | 122.448 | One Hundred and Twenty-Two point Four Four Eight | 770123.839 | Seven Lakh Seventy Thousand One Hundred and Twenty-Three point Eight Three Nine
68 | 16-560 | 16-560-20 | Shoring for slope protection of foundation trench, canal, embankment, road, pond etc. as per design slopes, grades including removal of spoils to a safe distance as per direction of Engineer in charge. 16-560-20: By bamboo post of 6.0m length, c/c fixed with nails. | Cum | 243 | 531.184 | Five Hundred and Thirty-One point One Eight Four | 129077.712 | One Lakh Twenty-Nine Thousand AND Seventy-Seven point Seven One Two
69 | 12-310 | 12-310-20 | Bailing out of water with all leads and lifts by manual labour or pump, with all arrengements for protection of ring bund and side slopes of foundation pit against erosion or washout etc. complete actual volume of work will be measured by sounding method before starting the work) as per direction of Engineer in charge. 12-310-20: By pump. | Cum | 64087.2 | 5.586 | Five point Five Eight Six | 357991.099 | Three Lakh Fifty-Seven Thousand Nine Hundred and Ninety-One point Zero Nine Nine
70 | 44-240 | 44-240-30 | Supplying at site U-shape hot rolled steel sheet pile of different section of Phosphorus=0.04%(Maximum), Sulphur = 0.04% (Maximum), Copper= 0.25% (Minimum), Tensile strength=> 490 N/mm2 , Yield strength =>296 N/mm2, Elongation =15% (Minimum) including all taxes, freights, incidental charges etc. complete as per direction of the Engineer -in- charge. 44-240-30, U- Shape, hot rolled steel sheet pile: width=400 to 600 mm: height=>100mm, Th.=>10.5 mm, wt per sqm. of pile wall=> 120 kg/m2, Section modulus per one meter of pile width => 874 cm3/m | M ton | 30.144 | 120112.575 | One Lakh Twenty Thousand One Hundred and Twelve point Five Seven Five | 3620673.461 | Thirty-Six Lakh Twenty Thousand Six Hundred and Seventy-Three point Four Six One
71 | 44-320 | 44-320-10 | Cutting of steel sheet piles to design and length and shape as per requirement in design and drawing and as per direction of Engineer in charge. 44-320-10: Upto 10mm thick. | m | 68.25 | 29.569 | Twenty-Nine point Five Six Nine | 2018.084 | Two Thousand AND Eighteen point Zero Eight Four
72 | 44-270 | 44-270-20 | Driving steel sheet piles of various sections and weights of any type of soil, by monkey hammer including handling and placing in position, staging and supplying of all equipments like monkey hammer, pully, rope, bamboo, bullah etc. including correcting leaning beyond tolerance & other efects and any other incidental cost etc. complete (measurement will be taken on projected width x height) as per direction of Engineer in charge. 44-270-20: U-type or any other type : Upto 4.50m depth. | Sqm | 251.2 | 972.106 | Nine Hundred and Seventy-Two point One Zero Six | 244193.027 | Two Lakh Forty-Four Thousand One Hundred and Ninety-Three point Zero Two Seven
73 | 72-180 | 72-180 | Painting of steel sheet piles, 2 coats of bitumen paint, including preparation of surface with sand paper, iron brush etc. including the cost of all materials and labour etc. complete as per direction of Engineer in charge. | sqm | 408.2 | 216.615 | Two Hundred and Sixteen point Six One Five | 88422.243 | Eighty-Eight Thousand Four Hundred and Twenty-Two point Two Four Three
74 | 44-310 | 44-310 | Supplying and placing 20mm thick hessian cloth impregnated with bitumen in expansion joints or on top of sheet piles as per specification and direction of Engineer in charge. | sqm | 91.845 | 337.092 | Three Hundred and Thirty-Seven point Zero Nine Two | 30960.215 | Thirty Thousand Nine Hundred and Sixty point Two One Five
75 | 44-220 | 44-220-10 | Supplying and laying single layer polythene sheet in floor below cement concrete, RCC slab, on walls etc. complete in all respect as per direction of Engineer in charge. 44-220-10: Weighing minimum 1.0kg per 6.50 sqm. | sqm | 424.209 | 15.059 | Fifteen point Zero Five Nine | 6388.163 | Six Thousand Three Hundred and Eighty-Eight point One Six Three
76 | 28-120 | 28-120-20 | Cement concrete work in leanest mix. 1:3:6 with sand of FM>= 1.5, in foundation or floor, including breaking, screening, grading and washing aggregates with clear water, mixing, laying in position, consolidation to levels, curing, including supply of all materials, excluding the cost of formworks etc. complete as per direction of Engineer in charge. 28-120-20: With 25mm down graded stone chips. | Cum | 63.861 | 9408.659 | Nine Thousand Four Hundred and Eight point Six Five Nine | 600846.372 | Six Lakh Eight Hundred and Forty-Six point Three Seven Two
77 | 28-100 | 28-100-20 | Cement concrete work in leanest mix. 1:4:8, with sand of FM>=1.5, in foundation or floor, including breaking, screening, grading and washing aggregates with clear water, mixing, laying in position, consolidation to levels, curing, including supply of all materials, excluding the cost of formworks etc. complete as per direction of Engineer in charge. 28-100-20: With 25mm down graded stone chips. | Cum | 1.946 | 9106.883 | Nine Thousand One Hundred and Six point Eight Eight Three | 17721.994 | Seventeen Thousand Seven Hundred and Twenty-One point Nine Nine Four
78 | 28-200 | 28-200-10 | Reinforced Cement Concrete Work in leanest mix. 1:1.5:3, with 20mm down graded coarse aggregates and sand of FM>= 2.0 to FM >= 2.5, to attain a minimum 28 day cylinder strength of 22.0 N/mm2, including breaking, screening, grading and washing aggregates with clear water, mixing, laying in forms, consolidation to levels, curing, including supply of all materials, excluding cost of M.S. work for reinforcements and formworks etc. complete and as per direction of Engineer in charge. 28-200-10: With stone chips. | cum | 497.035 | 10149.174 | Ten Thousand One Hundred and Forty-Nine point One Seven Four | 5044494.699 | Fifty Lakh Forty-Four Thousand Four Hundred and Ninety-Four point Six Nine Nine
79 | 76-120 | 76-120-10 | M.S. Work for reinforcement with twisted M.S. bar, fy = 414 N/mm2, (made from billet) in RCC works, including local handling, cutting, forging, bending, cleaning and fabrication with supply of twisted M.S. bar in different sizes and binding with 22 to 18 gages G.I. wire etc. complete including the cost of all materials as per direction of Engineer in charge. 76-120-10: 8mm dia to 30mm dia. | Kg | 41665.676 | 77.737 | Seventy-Seven point Seven Three Seven | 3238964.655 | Thirty-Two Lakh Thirty-Eight Thousand Nine Hundred and Sixty-Four point Six Five Five
80 | 76-115 | 76-115-10 | M.S Work for reinforcement with Standard deformed bar fy=276 N/mm^2 in RCC works including local handling, cutting,forging,bending,cleaning and fabrication with supply of deformed M.S. bar in different sizes and bending with 22 to 18 gages G.I. wire etc. complete including the cost of all materials as per direction of Engineer in charge. 76-115-10: 6mm dia | Kg | 54.45 | 68.774 | Sixty-Eight point Seven Seven Four | 3744.744 | Three Thousand Seven Hundred and Forty-Four point Seven Four Four
81A | 36-150 | 36-150-60 | Formwork for centering and water tight shuttering as per drawing with 14 BWG M.S. sheet, fitted and fixed with 0mmx40mmx6mm M.S. angle frame and 25mmx6mm F.I. bar stiffener, with necessary fabrication, welding, making the forms including fitting, fixing of steel forms with necessary ties, battens, struts, nuts & bolts, props etc. as per desired shape and size including levelling and removing the forms after specified period including the cost of all materials as per direction of Engineer in charge.36-150-60 . Footing, footing beams, grade beams, foundation slab with 60-80mm dia barrack bamboo props. | Sqm | 304 | 565.761 | Five Hundred and Sixty-Five point Seven Six One | 171991.344 | One Lakh Seventy-One Thousand Nine Hundred and Ninety-One point Three Four Four
81B | 36-150 | 36-150-10 | 36-150-10 . Vertical and inclined walls, columns, piers with 60-80mm dia barrack bamboo props. | Sqm | 793.165 | 684.473 | Six Hundred and Eighty-Four point Four Seven Three | 542900.027 | Five Lakh Forty-Two Thousand Nine Hundred point Zero Two Seven
81C | 36-150 | 36-150-20 | 36-150-20 . Deck slab, operating deck slab, top slab of barrel upto 3.5m height with 60-80mm dia barrack bamboo props. | Sqm | 126.55 | 691.672 | Six Hundred and Ninety-One point Six Seven Two | 87531.092 | Eighty-Seven Thousand Five Hundred and Thirty-One point Zero Nine Two
82 | 76-630 | 76-630-10 | Supply and fitting and fixing 23cm wide P.V.C water stops having minimum strength of 13.80N/mm2 at 225% elongation and of approved quality in antraction and expansion joints with necessary arrangements for modification in shuttering and keeping the water stop in position etc. complete as per design, specification anddirection of Engineer in charge. 76-630-10: 3 bulb type. | m | 29.3 | 825.401 | Eight Hundred and Twenty-Five point Four Zero One | 24184.249 | Twenty-Four Thousand One Hundred and Eighty-Four point Two Four Nine
83 | 56-430 | 56-430 | Filling up the expansion joints by asphalt, sand and jute waste etc. complete including supply of all materials and as per direction of Engineer in charge. | m | 9.13 | 133.871 | One Hundred and Thirty-Three point Eight Seven One | 1222.242 | One Thousand Two Hundred and Twenty-Two point Two Four Two
84 | 16-520 | 16-520-20 | Supplying and filling sand in foundation of hydraulic structures, buildings and in protective works with selected sand, in 150mm thick layer, including levelling, dressing, ramming, watering etc. complete (compacted to 50% relative density by manual laqbour using mallet/vibro compactor) as per direction of Engineer in charge. 16-520-20: Sand of FM>= 1.50 | cum | 341.454 | 1023.461 | One Thousand AND Twenty-Three point Four Six One | 349464.852 | Three Lakh Forty-Nine Thousand Four Hundred and Sixty-Four point Eight Five Two
85 | 40-610 | 40-610-20 | Supplying and laying dry 1st class or pick jhama chips as filter in two layers (top and bottom) as per specific size, range and gradation, including breaking chips, grading, preparation of surface, compacting each layer etc. complete with supply of all materials and as per direction of Engineer in charge. 40-610-20: Well graded between 20mm to 5mm size. (Combination of sub-item 10 and 30 or 20 and 30 shall be used) | Cum | 59.518 | 3169.906 | Three Thousand One Hundred and Sixty-Nine point Nine Zero Six | 188666.465 | One Lakh Eighty-Eight Thousand Six Hundred and Sixty-Six point Four Six Five
86 | 40-610 | 40-610-30 | Well graded between 20mm to 5mm size. (Combination of sub-item 10 & 30 or 20 & 30 shall be used) | Cum | 59.518 | 3449.469 | Three Thousand Four Hundred and Forty-Nine point Four Six Nine | 205305.496 | Two Lakh Five Thousand Three Hundred and Five point Four Nine Six
87 | 40-140 | 40-140-50 | Manufacturing and supplying C.C. blocks in leanest mix. 1:2:4 with cement, sand (FM>=1.5) and Stone Chips (40mm down graded) to attain a 28 days cylinder strength of 15 N/mm² including grading, washing stone chips, mixing, laying in forms, consolidation, curing for at least 21 days, including preparation of platform, shuttering and stacking in measurable stacks etc. complete including supply of all materials (steel shutter to be used) as per direction of Engineer in charge.block size 30cmx30cmx30cm | Each | 13316 | 266.346 | Two Hundred and Sixty-Six point Three Four Six | 3546663.336 | Thirty-Five Lakh Forty-Six Thousand Six Hundred and Sixty-Three point Three Three Six
88 | 40-220 | 40-220-10 | Labour charge for protective works in laying C.C. blocks of different sizes including preparation of base, watering and ramming of base etc. complete as per direction of the Engineer in charge. 40-220-10: Within 200m | Cum | 359.532 | 961.224 | Nine Hundred and Sixty-One point Two Two Four | 345590.787 | Three Lakh Forty-Five Thousand Five Hundred and Ninety point Seven Eight Seven
89 | 76-170 | 76-170 | M.S. Work in plates, angles, channels, flat bars, Tees etc. including fabricating, machining, cutting, bending, welding, forging, drilling, revetting, embedding anchor bars, staging and fitting, fixing, local handling etc. complete with energy consumption and supply of labours including the cost of materials as per design, specification and direction of Engineer in charge. | kg | 3727.464 | 115.083 | One Hundred and Fifteen point Zero Eight Three | 428967.74 | Four Lakh Twenty-Eight Thousand Nine Hundred and Sixty-Seven point Seven Four
90 | 80-230 | 80-230-40 | Supplying, laying, fitting and fixing of different dia G.I. pipes with all special fittings, such as bends, elbows, sockets, tees, unions, jam nuts etc. including cutting foundation trenches upto required depth where necessary and filling the same with earth duly compacted, making holes in floors and walls and clips, including cutting threads, making necessary connection etc. all complete including the cost of all materials as per direction of Engineer in charge. 80-230-40 . 40mm dia G.I. pipe line.. | Each | 4.5 | 162.678 | One Hundred and Sixty-Two point Six Seven Eight | 732.051 | Seven Hundred and Thirty-Two point Zero Five One
91 | 76-240 | 76-240-40 | Manufacturing & Supplying of M.S. Vertical Lift Gate shutter of 8mm thick M.S. skin plate and stiffener with minimum75mm x 75mm x 10mm M.S. angle as frame, horizontal & vertical beam,t with proper thread, nut, cotter pin and washer as per approved design including the cost of all materials of proper grade & brand new with a prime coat of redoxide where necessary as per specification and direction of Engineer in charge. 76-240-40: Size 1.95m x 1.65m | Each | 8 | 67677.429 | Sixty-Seven Thousand Six Hundred and Seventy-Seven point Four Two Nine | 541419.432 | Five Lakh Forty-One Thousand Four Hundred and Nineteen point Four Three Two
92 | 76-260 | 76-260-20 | Labour charge for fitting and fixing of M.S. vertical lift gate/flap gate shutters of different size including making holes in concrete for hooking arrangements with supply of necessary materials, tools and other accessories required for fitting the same to regulator/sluice and mending the damages with CC (1:2:4), removing the spoils etc.complete including the cost of all materials as per direction of Engineer in charge. 76-260-20: Size 1.95m x 1.35m or 1.95m x 1.65m | Each | 8 | 7206.755 | Seven Thousand Two Hundred and Six point Seven Five Five | 57654.04 | Fifty-Seven Thousand Six Hundred and Fifty-Four point Zero Four
93 | 76-190 | 76-190 | Manufacturing, supplying and Installation of Padestal type lifting device for slide gate with 63mm dia threaded steel shaft, 146mm outer dia bronze nut, thrust bearing, steel bevel gear etc. as per approved design including supply of all components, labours with a prime coat of redoxide where necessary etc. complete including the cost of all materials as per specification and direction of Engineer in charge. | Each | 8 | 58527.344 | Fifty-Eight Thousand Five Hundred and Twenty-Seven point Three Four Four | 468218.752 | Four Lakh Sixty-Eight Thousand Two Hundred and Eighteen point Seven Five Two
94 | 16-140 | 16-140-10 | Earth work by manual labour in resectioning of embankment/ canal bank/river slopes/ road/ compound etc. manually compacted by 7.0 kg iron rammer to avoid any air pocket in clayey soil (minimum 30% clay, 0-40%silt and 0-30% sand) within the initial lead of 30m and all lifts includingthrowing the spoils to profile in layers not exceeding 150mm thickness withclod breaking to a maximum size of 100mm, removing roots & stumps oftrees of girth upto 200mm from the ground, benching the side slopes,stripping/ ploughing the base of embankment and borrowpit areas, dugbailing, bail out of water, rough dressing including 150mm cambering at thecentre of the crest (where necessary) etc. complete as per direction of Engineer in charge. 16-140-10: 0 m to 3 m height. | Cum | 2012.5 | 161.184 | One Hundred and Sixty-One point One Eight Four | 324382.8 | Three Lakh Twenty-Four Thousand Three Hundred and Eighty-Two point Eight
95 | 16-130 | 16-130 | Earth work by manual labour in all kinds of soil in excavation or reexcavation of channels with the initial lead of 30m and lift of 1.5m including levelling, dressing and throwing the spoils to profile with breaking clods, rough dressing, clearing jungles including cutting trees upto 200mm girth, dug bailing etc. complete as per direction of Engineer in charge. | Cum | 3064.14 | 122.448 | One Hundred and Twenty-Two point Four Four Eight | 375197.815 | Three Lakh Seventy-Five Thousand One Hundred and Ninety-Seven point Eight One Five
96 | 16-200 | 16-200 | Extra rate for every additional lift of 1.0m or part thereof beyond the initial | Pltcum | 1532.07 | 9.466 | Nine point Four Six Six | 14502.575 | Fourteen Thousand Five Hundred and Two point Five Seven Five
97 | 16-220 | 16-220 | Earth work by manual labour, in all kinds of soil in removing the crossbundh/ ring bundh, including all leads and lifts complete and placing the | Cum | 390.371 | 122.413 | One Hundred and Twenty-Two point Four One Three | 47786.485 | Forty-Seven Thousand Seven Hundred and Eighty-Six point Four Eight Five
98 | 04-280 | 04-280-10 | Constructing at site, cement mortar gauge on masonry wall, includingengraving in meter, decimeter & centimeter, painting and figuring with black and red water proof paint, etc. complete as per direction of Engineer | m | 5.6 | 62.459 | Sixty-Two point Four Five Nine | 349.77 | Three Hundred and Forty-Nine point Seven Seven
99 | 16-270 | 16-270-30 | Earth work by manual labour with clayey soil (minimum 30% clay, 0-40% silt and 0-30% sand) for closing breach or channel, with all leads and lifts within the channel width including profiling, clod breaking, ramming etc. complete as per specification and direction of Engineer in charge. 16-270-30: Upto 60m width. | Cum | 1159.122 | 141.595 | One Hundred and Forty-One point Five Nine Five | 164125.88 | One Lakh Sixty-Four Thousand One Hundred and Twenty-Five point Eight Eight
100 | 16-540 | 16-540-20 | Back filling in hydraulic structures including all leads and lifts in 150mmlayer including watering, ramming, compacting to 30% relative density etc. complete by compactor or any other suitable method as per direction of Engineer in charge. | Cum | 2153.269 | 647.643 | Six Hundred and Forty-Seven point Six Four Three | 1394549.595 | Thirteen Lakh Ninety-Four Thousand Five Hundred and Forty-Nine point Five Nine Five
101 | 16-530 | 16-530 | Back filling in hydraulic structures and slope building in protective works including all leads and lifts with selected local soil in layer of 150mm including watering, ramming etc. complete compacted to 20% relative method as per direction of Engineer in charge. | Cum | 927.944 | 134.555 | One Hundred and Thirty-Four point Five Five Five | 124859.505 | One Lakh Twenty-Four Thousand Eight Hundred and Fifty-Nine point Five Zero Five
102 | 68-130 | 68-130 | Supplying pressure treated wooden fall boards/stop logs of different sizes | Cum | 8.16 | 31552.314 | Thirty-One Thousand Five Hundred and Fifty-Two point Three One Four | 257466.882 | Two Lakh Fifty-Seven Thousand Four Hundred and Sixty-Six point Eight Eight Two
103 | 48-100 | 48-100 | Fine dressing and close turfing of the slopes and the crest of embankmentwith 75mm thick, good quality durba or charkanta sods of size 200mm x200mm, with all leads and lifts, including ramming, watering until the turf grows properly, maintaining etc. complete (measurement will be given on well grown grass only). as per direction of Engineer in charge. | sqm | 1300 | 17.928 | Seventeen point Nine Two Eight | 23306.4 | Twenty-Three Thousand Three Hundred and Six point Four
104 | 80-260 | 80-260-20 | Supplying, fitting and fixing of the different dia G.I. water distribution pipe line, with all special fittings such as bends, elbows, sockets, reducing sockets, tees, unions etc including cutting trench up to an average depth of 0.90m, maintaining proper level, cutting pipes where necessary, making threads etc. all complete, as per direction of Engineer in charge: 80-260-20: 50mm dia G.I. pipe line | m | 17.6 | 523.111 | Five Hundred and Twenty-Three point One One One | 9206.754 | Nine Thousand Two Hundred and Six point Seven Five Four
105 | NSI | NSI | part time employment of environmental inspector for Implementation and reporting on environmental management plan provision for first aid Box and medical assistant as per specification and direction of engineer in-charge. | LS | 1 | 100000.001 | One Lakh point Zero Zero One | 100000.001 | One Lakh point Zero Zero One
106 | Analysis Rate | Analysis Rate | Mobilize, strengthen required land based construction equipment such as excavator, dump truck, chain dozer, vibro-compactor, and plants such as generator for site electrification, digital camera for taking photographs and digital video camera for recording/Taking photograph all sequences of works etc for keeping records of the Works by providing following information including transfer to site, complete for the purposes stated in the Technical Specification and Contractor?s Method Statement and as per direction of Engineer in charge. | LS | 1 | 93401.227 | Ninety-Three Thousand Four Hundred and One point Two Two Seven | 93401.227 | Ninety-Three Thousand Four Hundred and One point Two Two Seven
107 | Analysis Rate | Analysis Rate | Provide and maintain 1 (one) no. Engine boat with boatmen having sun and rainproof cover to facilitate supervision by the Engineer/Engineer's Representative during whole construction period of the work as per Technical Specification, Contractor?s Method Statement and as per direction of Engineer in charge. | LS | 1 | 99890.637 | Ninety-Nine Thousand Eight Hundred and Ninety point Six Three Seven | 99890.637 | Ninety-Nine Thousand Eight Hundred and Ninety point Six Three Seven
108 | Analysis Rate | Analysis Rate | Providing and maintaining adequate portable water supply by installing 6 Nos. of tube well and sanitation facilities by installing 6 Nos. of sanitary latrines for usage of labours,officials and others for prevailing the hygenic and healthy environment at allover the working site As per direction of the Engineer in charge. | LS | 1 | 107563.793 | One Lakh Seven Thousand Five Hundred and Sixty-Three point Seven Nine Three | 107563.793 | One Lakh Seven Thousand Five Hundred and Sixty-Three point Seven Nine Three
109 | Analysis Rate | Analysis Rate | Operate , maintain of plant and equipment such as generator for site electrification, for the purpose stated in the Technical Specification and in the Contractor?s Method Statement and as per direction of Engineer in charge. | LS | 1 | 108710.844 | One Lakh Eight Thousand Seven Hundred and Ten point Eight Four Four | 108710.844 | One Lakh Eight Thousand Seven Hundred and Ten point Eight Four Four
110 | Analysis Rate | Analysis Rate | Demobilization and clean-up of the site upon completion of the works, as per Specifications and Contractor's Method Statement and as per direction of Engineer in Charge | LS | 1 | 86051.035 | Eighty-Six Thousand AND Fifty-One point Zero Three Five | 86051.035 | Eighty-Six Thousand AND Fifty-One point Zero Three Five
25773493.077
257.7349
|  |  |  | mobilization |  | 595617.537
5.9562